## Cover
Office of Environment & Heritage
Energy Efficiency and Renewables Finance Guide - cash flow model
Refrigeration

## Introduction and Disclaimer
Energy Efficiency and Renewables Finance Guide: Refrigeration case study
Introduction, disclaimer and instructions
Introduction
This cash flow model has been prepared to illustrate the financial benefit that can be achieved through installing energy efficient and renewable energy equipment, and to help you identify which financing options could be appropriate for your equipment. This model is designed to help you to identify the most attractive finance options for projects from a cashflow impact perspective. However, it is not a business case development model.
This model includes the following parts:
| • | Part 1: how do energy efficient equipment and standard equipment compare? This part of the tool provides a case study of the financial benefit of installing new energy efficient equipment versus installing standard equipment. The type of equipment that a business could typically consider is defined and the cash flows for the energy efficient equipment and standard equipment are provided to compare the financial outcomes. The value of any Energy Savings Certificates (ESCs) that could be created by installing the energy efficient equipment are included. The overall financial impact of installing the energy efficient equipment are shown with and without the value of ESC. The cashflows in this part of the tool are based on assumed costs and energy use for each equipment type, and assumed energy prices and discount rates for small to medium sized businesses. You have the option of entering costs and savings estimates and other assumptions for a project your are considering.
| • | Part 2: how do financing options compare? This part of the tool models the cash flows that would result from installing the energy efficient equipment with financing sourced from each of the available financing options. You have the option of entering cost and savings estimates for a project you are considering and your own energy prices to determine which financing option would be attractive for you. Alternatively, if you do not enter these, the costs and savings for the energy efficient equipment and the energy prices and discount rate considered in Part 1 of the tool will be used to illustrate how the financing options compare. Cash flows and net present value are shown with and without the creation of ESCs.
Disclaimer
© 2014 State of NSW and Office of Environment and Heritage With the exception of photographs, the State of NSW and Office of Environment and Heritage are pleased to allow this material to be reproduced in whole or in part for educational and non-commercial use, provided the meaning is unchanged and its source, publisher and authorship are acknowledged. Specific permission is required for the reproduction of photographs The Energy Efficiency and Renewables Finance Guide has been prepared based on information available at November 2014. The information contained in this guide is of general character only and while the Office of Environment and Heritage (“OEH”) and its consultants (Energetics and BDO) in the development of this guide have endeavoured to ensure that information contained in this guide is accurate and based on reliable sources, no warranty is made as to accuracy, reliability or completeness. These cash flow models are designed to help you to identify the best finance options for projects from a cash flow impact perspective. However, these cash flow models are not business case development tools and should not be relied on as such. To the extent that this guide or the accompanying cash flow models contain prospective financial information, that information has been based on current expectations about future events as at the date above and is subject to risks, uncertainties and assumptions that could cause actual results to differ materially from the expectations described in such prospective financial information. Past financial performance is not indicative of future financial performance. This guide and the accompanying cash flow models have been prepared without taking into account the objectives, financial situation or needs of you or your organisation. For this reason, OEH, Energetics and BDO in the development of this guide do not endorse or recommend any investment decisions based on information provided in this guide or as a result of using the cash flow models. You should independently verify and check the accuracy, completeness, reliability and suitability of the information contained within it and seek independent professional advice on how it will affect your specific situation. The guide and cash flow models may be subject to revision without notice and you should ensure you are using the latest version. OEH, Energetics and BDO accept no responsibility for errors or omissions in the guide or accompanying cash flow models, or for any loss or damage arising from the use of the guide or cash flow tools. To the fullest extent permitted by law, OEH, Energetics and BDO expressly disclaim all warranties, whether express or implied. In no event will OEH, Energetics and BDO be liable for any indirect, special, incidental, tort, economic or consequential damage or damages for negligence for any loss of profit, whether arising out of the use or inability to use the guide and cash flow tools, any outcome produced by the guide or cash flow tools or any reliance thereon, or otherwise
Instructions
How to use this tool
You can use this tool either to see the results for the case study described in the tool and Guide, or you can use it to assess your own project by entering your own assumptions.
To assess your own project, fill out any cells that are coloured light blue, as shown below:
Cell where you can enter your own data:
Tab descriptions
|  | Tab name | Description | User instructions
|  | Part 1 | In this tab the financial impacts of installing energy efficient equipment and standard equipment are compared. The tab is structured as follows, from top to bottom: - Inputs, including a description of the case study, followed by the in-built assumptions used to assess the case study equipment. - Calculations of the cash flows and Net Present Value (NPV) for the standard equipment and for the energy efficient equipment (with and without ESCs). - Summary outputs showing cashflows for the standard equipment and for the efficient equipment, and the difference in these, plus the NPV for these cashflows. | If you would like to assess your own project, enter your assumptions in the light-blue coloured cells.
|  | Part 2 - inputs | This tab contains the inputs and assumptions required to determine the cashflows that would result if the energy efficient equipment was installed using a number of different finance options. In this tab, it is determined which finance options should be considered for the project, based on the equipment type, the installation cost and the location of the project. | If you would like to assess your own project, enter your assumptions in the light-blue coloured cells.
|  | Part 2 - calculations | This tab contains calculations of the cash flows and NPVs that would results with each financing options being considered. | No action required.
|  | Part 2 - results | This tab provides the total annual cashflows and the NPVs for each finance option considered, and ranks the finance options from largest (most positive) NPV to smallest (most negative). | Extract results of analysis, as needed.
End

## Part 1
Energy Efficiency and Renewables Finance Guide: Refrigeration case study
Part 1: how do energy efficient equipment and standard equipment compare?
Inputs
Standard and energy efficiency equipment options
Description
A mushroom supplier is seeking to replace its old refrigeration compressor equipped chillers. It is considering two options: two 900 kW screw compressor equipped chillers or two 900 kW high-efficiency compressor equipped chillers. The high-efficiency compressor equipped chillers are over 50% more expensive that the less efficient options, but typically use 40% less power for the same cooling output and have operating costs of 50% less than the less efficient option. The units are half the size and one fifth the weight of the same capacity reciprocating compressor, are extremely quiet and use ozone and greenhouse gas friendly refrigerants. The compressors have in-built soft starters and variable speed drives (VSDs), which means the compressor operates to match the load.
Costs and energy use - standard equipment
The table below contains assumptions for the standard equipment. Under "Case study" are the assumptions for the standard equipment described above. If you would like to model your own project, enter assumptions under "Your project".
Please enter positive figures for all values
| Equipment type | Case study | Your project | Assumption used
| Cost to install ($) | 233300 |  | 233300 |  | Note; if the 'standard' option for your project is to leave the existing equipment running, you can put $0 for 'Cost to install'
| Operation and maintenance cost ($ p.a.) | 16378.272 |  | 16378.272
| Electricity use (kWh p.a.) | 767000 |  | 767000
| Equipment life (yrs) | 15 |  | 15
Costs and energy use - energy efficient equipment
The table below contains assumptions for the efficient equipment. Under "Case study" are the assumptions for the efficient equipment described above. If you would like to model your own project, enter assumptions under "Your project".
Please enter positive figures for all values
| Equipment type | Case study | Your project | Assumption used
| Cost to install ($) | 365500 |  | 365500
| Operation and maintenance cost ($ p.a.) | 8189.136 |  | 8189.136
| Electricity use (kWh p.a.) | 460000 |  | 460000
| Equipment life (yrs) | 15 |  | 15
Energy Savings Scheme assumptions
Creation of Energy Savings Certificates (ESCs)
ESC creation is modelled based on the Project Impact Assessment (PIA) with Measurement and Verification Method, which is described in clause 7A of the Energy Savings Scheme (Amendment No. 2) Rule 2014. Under this method, savings are calculated for a project by developing a baseline energy model and then measuring and verifying performance of an implemented project. ESCs can be created upfront based on engineering calculations of expected savings. More ESCs can be created throughout the equipment life based on actual savings achieved; for simplicity, this cash flow model assumes that certificates are only created upfront.
More information of ESC creation can be found at the Energy Savings Scheme website, http://www.ess.nsw.gov.au
| Number of ESCs per MWh savings | 1.06
| Maximum years forward creation | 10 |  | Up to 10 years of energy savings can be brought forward, with future savings discounted decay factors.
The decay factors below are from the PIA M&V Tool persistence model, using the following assumptions: Install efficient compressors, postcode is 2112, frequent dust in air, not within 500m of the coast, moderate water hardness, located internally (for determining UV exposure), with a strainer, with a filter, with soft start
| Decay factor - year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Decay factor - factor | 1 | 0.99088 | 0.98176 | 0.97264 | 0.96352 | 0.9544 | 0.94528 | 0.93616 | 0.92704 | 0
|  | Case study | Your project | Assumption used
| Accuracy factor | 1: 0.9; 3: 0.9; 4: This depends on the level of accuracy of the energy savings calculation. See Table A23 in new ESS Rule
Revenue for business from creating ESC certificates
This model assumes that the business will organise the installation of the equipment, but will use an Accredited Certificate Provider (ACP) to generate ESCs. ACPs need to cover their business costs from ESC revenue before passing on this revenue to the business. These business costs include administration, marketing and trading. It is assumed that all ESC revenue greater than these business costs are passed onto the business implementing the project.
| ESC price ($/ESC) | 1: 14; 3: The ESC price changes daily; this price is based on the level ESCs were trading at during the first half of 2014, as sourced from The Green Room
| ACP business cost ($/ESC) | 1: 5.78; 3: Source: 2013 Databuild report "IPART Energy Savings Scheme Cost of Participation"
|  | Case study | Your project | Assumption used
| ESC revenue received by business ($/ESC) | 1: 8.22; 3: 8.22
Other assumptions
Energy prices
| Item | 1: Case study; 2: Your project; 3: Assumption used
| Current electricity price ($/MWh) | 1: 200; 3: 200
| Annual electricity price growth rate (%) | 1: 2%; 3: 2%; 4: Note: this does not include inflation, as this model is in real dollars not nominal dollars
Discount rate and tax rate
| Item | 1: Case study; 2: Your project; 3: Assumption used
| Discount rate (%) | 1: 10%; 3: 10%; 4: This is the minimum % return required from an investment. It is a post-tax real discount rate
| Tax rate (%) | 1: 30%; 3: 30%
Cash flows
Standard equipment
| Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Cost of installing and maintaining equipment
| Capital expenditure ($) | -233300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Operation and maintenance cost ($) | -16378.272 | -16378.272 | -16378.272 | -16378.272 | -16378.272 | -16378.272 | -16378.272 | -16378.272 | -16378.272 | -16378.272 | -16378.272 | -16378.272 | -16378.272 | -16378.272 | -16378.272
Energy cost
| Electricity consumption (kWh) | 767000 | 767000 | 767000 | 767000 | 767000 | 767000 | 767000 | 767000 | 767000 | 767000 | 767000 | 767000 | 767000 | 767000 | 767000
| Electricity price ($/MWh) | 200 | 204 | 208.08 | 212.2416 | 216.4864 | 220.8162 | 225.2325 | 229.7371 | 234.3319 | 239.0185 | 243.7989 | 248.6749 | 253.6484 | 258.7213 | 263.8958
| Electricity cost ($) | -153400 | -156468 | -159597.36 | -162789.3072 | -166045.0933 | -169365.9952 | -172753.3151 | -176208.3814 | -179732.549 | -183327.2 | -186993.744 | -190733.6189 | -194548.2913 | -198439.2571 | -202408.0423
Depreciation
| Equipment life (years) | 1: 15
| Annual depreciation (%) | 1: 6.667%
| Depreciation ($) | -15553.3333 | -15553.3333 | -15553.3333 | -15553.3333 | -15553.3333 | -15553.3333 | -15553.3333 | -15553.3333 | -15553.3333 | -15553.3333 | -15553.3333 | -15553.3333 | -15553.3333 | -15553.3333 | -15553.3333
Tax
Operating costs, including energy costs, and depreciation are tax deductible, reducing the tax you pay
| Taxable income ($) | -185331.6053 | -188399.6053 | -191528.9653 | -194720.9125 | -197976.6987 | -201297.6005 | -204684.9204 | -208139.9868 | -211664.1544 | -215258.8054 | -218925.3494 | -222665.2242 | -226479.8966 | -230370.8624 | -234339.6476
| Tax payable ($) | 55599.4816 | 56519.8816 | 57458.6896 | 58416.2738 | 59393.0096 | 60389.2802 | 61405.4761 | 62441.996 | 63499.2463 | 64577.6416 | 65677.6048 | 66799.5673 | 67943.969 | 69111.2587 | 70301.8943
Cash flows and NPV
| Cash flows from equipment ($) | -347478.7904 | -116326.3904 | -118516.9424 | -120751.3054 | -123030.3557 | -125354.987 | -127726.111 | -130144.6574 | -132611.5747 | -135127.8304 | -137694.4112 | -140312.3236 | -142982.5943 | -145706.2704 | -148484.42
| Discount factor | 1 | 0.90909 | 0.82645 | 0.75131 | 0.68301 | 0.62092 | 0.56447 | 0.51316 | 0.46651 | 0.4241 | 0.38554 | 0.35049 | 0.31863 | 0.28966 | 0.26333
| NPV ($) | 1: -1290952.6088
Energy efficient equipment
| Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Cost of installing and maintaining equipment
| Capital expenditure ($) | 1: -365500
| Operation and maintenance cost ($) | -8189.136 | -8189.136 | -8189.136 | -8189.136 | -8189.136 | -8189.136 | -8189.136 | -8189.136 | -8189.136 | -8189.136 | -8189.136 | -8189.136 | -8189.136 | -8189.136 | -8189.136
Energy cost
| Electricity consumption (kWh) | 460000 | 460000 | 460000 | 460000 | 460000 | 460000 | 460000 | 460000 | 460000 | 460000 | 460000 | 460000 | 460000 | 460000 | 460000
| Electricity price ($/MWh) | 200 | 204 | 208.08 | 212.2416 | 216.4864 | 220.8162 | 225.2325 | 229.7371 | 234.3319 | 239.0185 | 243.7989 | 248.6749 | 253.6484 | 258.7213 | 263.8958
| Electricity cost ($) | -92000 | -93840 | -95716.8 | -97631.136 | -99583.7587 | -101575.4339 | -103606.9426 | -105679.0814 | -107792.6631 | -109948.5163 | -112147.4866 | -114390.4364 | -116678.2451 | -119011.81 | -121392.0462
Energy Savings Certificates
| Years of forward creation (yrs) | 1: 10
| Decay factor | 1 | 0.99088 | 0.98176 | 0.97264 | 0.96352 | 0.9544 | 0.94528 | 0.93616 | 0.92704 | 0
| Energy savings (MWh) | 307 | 307 | 307 | 307 | 307 | 307 | 307 | 307 | 307 | 307
| ESCs created upfront | 1: 2539.7473
| Revenue from ESC creation ($) | 1: 20876.723
Depreciation
| Equipment life (years) | 1: 15
| Annual depreciation (%) | 1: 6.667%
| Depreciation ($) | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667
Tax
Operating costs, including energy costs, and depreciation decrease taxable income, while ESC revenue increases it
| Taxable income - with ESCs ($) | -103679.0797 | -126395.8027 | -128272.6027 | -130186.9387 | -132139.5614 | -134131.2366 | -136162.7452 | -138234.8841 | -140348.4657 | -142504.319 | -144703.2893 | -146946.239 | -149234.0478 | -151567.6127 | -153947.8489
| Tax payable - with ESCs($) | 31103.7239 | 37918.7408 | 38481.7808 | 39056.0816 | 39641.8684 | 40239.371 | 40848.8236 | 41470.4652 | 42104.5397 | 42751.2957 | 43410.9868 | 44083.8717 | 44770.2143 | 45470.2838 | 46184.3547
| Taxable income - without ESCs ($) | -124555.8027 | -126395.8027 | -128272.6027 | -130186.9387 | -132139.5614 | -134131.2366 | -136162.7452 | -138234.8841 | -140348.4657 | -142504.319 | -144703.2893 | -146946.239 | -149234.0478 | -151567.6127 | -153947.8489
| Tax payable - without ESCs($) | 37366.7408 | 37918.7408 | 38481.7808 | 39056.0816 | 39641.8684 | 40239.371 | 40848.8236 | 41470.4652 | 42104.5397 | 42751.2957 | 43410.9868 | 44083.8717 | 44770.2143 | 45470.2838 | 46184.3547
Cash flows and NPV
| Cash flows - with ESCs($) | -413708.6891 | -64110.3952 | -65424.1552 | -66764.1904 | -68131.0263 | -69525.1989 | -70947.255 | -72397.7522 | -73877.2593 | -75386.3566 | -76925.6358 | -78495.7007 | -80097.1668 | -81730.6622 | -83396.8275
| Cash flows - without ESCs($) | -428322.3952 | -64110.3952 | -65424.1552 | -66764.1904 | -68131.0263 | -69525.1989 | -70947.255 | -72397.7522 | -73877.2593 | -75386.3566 | -76925.6358 | -78495.7007 | -80097.1668 | -81730.6622 | -83396.8275
| Discount factor | 1 | 0.90909 | 0.82645 | 0.75131 | 0.68301 | 0.62092 | 0.56447 | 0.51316 | 0.46651 | 0.4241 | 0.38554 | 0.35049 | 0.31863 | 0.28966 | 0.26333
| NPV - with ESCs($) | 1: -937887.5635
| NPV - without ESCs($) | 1: -952501.2696
Financial outcome from purchasing energy efficient equipment vs. standard equipment
| Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Outcome with creation of ESCs for EE equipment
| Cashflows: standard equipment ($) | -347478.7904 | -116326.3904 | -118516.9424 | -120751.3054 | -123030.3557 | -125354.987 | -127726.111 | -130144.6574 | -132611.5747 | -135127.8304 | -137694.4112 | -140312.3236 | -142982.5943 | -145706.2704 | -148484.42
| Cashflows: EE equipment, with ESCs ($) | -413708.6891 | -64110.3952 | -65424.1552 | -66764.1904 | -68131.0263 | -69525.1989 | -70947.255 | -72397.7522 | -73877.2593 | -75386.3566 | -76925.6358 | -78495.7007 | -80097.1668 | -81730.6622 | -83396.8275
| Cashflows: EE minus standard ($) | -66229.8987 | 52215.9952 | 53092.7872 | 53987.115 | 54899.3294 | 55829.7881 | 56778.856 | 57746.9052 | 58734.3154 | 59741.4738 | 60768.7754 | 61816.623 | 62885.4275 | 63975.6082 | 65087.5924
|  | Standard | EE | Difference
| NPV ($) | 1: -1290952.6088; 2: -937887.5635; 3: 353065.0453
Outcome without ESC creation for EE equipment
| Cashflows: standard equipment ($) | -347478.7904 | -116326.3904 | -118516.9424 | -120751.3054 | -123030.3557 | -125354.987 | -127726.111 | -130144.6574 | -132611.5747 | -135127.8304 | -137694.4112 | -140312.3236 | -142982.5943 | -145706.2704 | -148484.42
| Cashflows: EE equipment, without ESCs ($) | -428322.3952 | -64110.3952 | -65424.1552 | -66764.1904 | -68131.0263 | -69525.1989 | -70947.255 | -72397.7522 | -73877.2593 | -75386.3566 | -76925.6358 | -78495.7007 | -80097.1668 | -81730.6622 | -83396.8275
| Cashflows: EE minus standard ($) | -80843.6048 | 52215.9952 | 53092.7872 | 53987.115 | 54899.3294 | 55829.7881 | 56778.856 | 57746.9052 | 58734.3154 | 59741.4738 | 60768.7754 | 61816.623 | 62885.4275 | 63975.6082 | 65087.5924
|  | Standard | EE | Difference
| NPV ($) | 1: -1290952.6088; 2: -952501.2696; 3: 338451.3392
End

## Part 2 - inputs
Energy Efficiency and Renewables Finance Guide: Refrigeration case study
Part 2: Inputs
Energy efficient equipment assumptions
The table below contains the equipment assumptions used in Part 2. Under "Case study" are the assumptions used in Part 1. Note: if you entered assumptions for your project in Part 1, these will be under "Case study" below. If you would like to use different assumptions for Part 2, enter these under "Your project" below.
| Item | Case study | Your project | Assumption used
| Cost to install ($) | 365500 |  | 365500
| Operation and maintenance cost ($ p.a.) | 8189.136 |  | 8189.136
| Electricity savings (kWh p.a.) | 307000 |  | 307000
| Equipment life (yrs) | 15 |  | 15
Energy Savings Scheme assumptions
Creation of Energy Savings Certificates (ESCs)
ESC creation is modelled based on the Project Impact Assessment with Measurement and Verification Method (PIAM M&V), which is described in clause 7A of the Energy Savings Scheme (Amendment No. 2) Rule 2014. Under this method, savings are calculated for a project by developing a baseline energy model and then measuring and verifying performance of an implemented project. ESCs can be created upfront based on engineering calculations of excepted savings. More ESCs can be created throughout the equipment life based on actual savings achieved; for simplicity, this cash flow model assumes that certificates are only created upfront.
More information of ESC creation can be found at the Energy Savings Scheme website, http://www.ess.nsw.gov.au
| Number of ESCs per MWh savings | 1.06
| Maximum years forward creation | 10 |  | Up to 10 years of energy savings can be brought forward, with future savings discounted decay factors.
The decay factors below are from the PIA M&V Tool persistence model, using the following assumptions: Install efficient compressors, postcode is 2112, frequent dust in air, not within 500m of the coast, moderate water hardness, located internally (for determining UV exposure), with a strainer, with a filter, with soft start
| Decay factor - year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Decay factor - factor | 1 | 0.99088 | 0.98176 | 0.97264 | 0.96352 | 0.9544 | 0.94528 | 0.93616 | 0.92704 | 0
|  | Case study | Your project | Assumption used
| Accuracy factor | 1: 0.9; 3: 0.9; 5: This depends on the level of accuracy of the energy savings calculation. See Table A23 in new ESS Rule. Maximum value is 1.
Revenue for business from creating ESC certificates
This model assumes that the business will organise the installation of the equipment, but will use an Accredited Certificate Provider (ACP) to generate ESCs. ACPs need to cover their business costs from ESC revenue before passing on this revenue to the business. These business costs include administration, marketing and trading. It is assumed that all ESC revenue greater than these business costs are passed onto the business implementing the project.
| ESC price ($/ESC) | 1: 14; 3: The ESC price changes daily; this price is based on the level ESCs were trading at during the first half of 2014
| ACP business cost ($/ESC) | 1: 5.78; 3: Source: 2013 Databuild report "IPART Energy Savings Scheme Cost of Participation"
|  | Case study | Your project | Assumption used
| ESC revenue received by business ($/ESC) | 1: 8.22; 3: 8.22
Other assumptions | bar: 4
As above, the assumptions under "Case study" are those used in Part 1, including any you entered yourself. You can enter alternate assumptions under "Your project" in the below tables.
Energy prices
| Item | 1: Case study; 2: Your project; 3: Assumption used
| Current electricity price ($/MWh) | 1: 200; 3: 200
Annual electricity price growth rate (%) | bar: 1; 3
Discount rate and tax rate
| Item | 1: Case study; 2: Your project; 3: Assumption used
| Discount rate (%) | 1: 10%; 3: 10%; 5: This is the minimum % return required from an investment
| Tax rate (%) | 1: 30%; 3: 30%
Which financing options should you consider? | bar: 4
As outlined in the EEFG guide, there are a range of financing options that are available for energy efficiency and renewable energy projects. Whether you should consider each option depends on: - the technology you are installing: some financing options are not suitable for all technology types - the amount of finance you need (assumed to be the full equipment and installation cost): each finance option has a different minimum finance amount, as outlined in the guide - Environmental Upgrade Agreements (EUAs): these are only available in certain council areas. In addition, each council has their own eligibility criteria, as outlined in the guide; for the purpose of this tool, only your location, defined by your site postcode, is considered to determine if you should consider an EUA
| Item | 1: Case study; 2: Your project; 3: Assumption used
| What is the site postcode? | 1: 2112; 3: 2112
Is this in an eligible council area? | bar: 1
| Council | 1: N/A
| Finance option | 1: Suitable for Refrigeration?; 2: Available for amount of finance needed?; 3: To be considered?
| Self funded | 1: Yes; 2: Yes; 3: Yes
| Commercial loan | 1: Yes; 2: Yes; 3: Yes
| EE loan | 1: Yes; 2: Yes; 3: Yes
| Operating lease | 1: Yes; 2: Yes; 3: Yes
| Capital lease | 1: Yes; 2: Yes; 3: Yes
| EUA | 1: Yes; 2: Yes; 3: No
| On-bill financing | 1: Yes; 2: Yes; 3: Yes
Assumptions for financing options | bar: 4
Finance period (years)
| Finance option | 1: Case study; 2: Your project; 3: Assumption used
| Self funded | 1: 15; 3: 15
| Commercial loan | 1: 5; 3: 5
| EE loan | 1: 7; 3: 7
| Operating lease | 1: 5; 3: 5
| Capital lease | 1: 5; 3: 5
| EUA | 1: N/A; 3: N/A
| On-bill financing | 1: 7; 3: 7
Finance cost (%)
| Finance option | 1: Case study; 2: Your project; 3: Assumption used
| Self funded | 1: N/A; 3: N/A
| Commercial loan | 1: 6.5%; 3: 6.5%
EE loan | bar: 1; 3
Operating lease | bar: 1; 3
| Capital lease | 1: 7.5%; 3: 7.5%
| EUA | 1: N/A; 3: N/A
On-bill financing | bar: 1; 3
End | bar: 4

## Part 2 - results
Energy Efficiency and Renewables Finance Guide: Refrigeration case study
Part 2: Results
Project details
| Equipment | Refrigeration
| Cost to install ($) | 365500
| Operation and maintenance cost ($ p.a.) | 8189.136
| Electricity savings (kWh p.a.) | 307000
| Equipment life (yrs) | 15
NPV of finance options considered
| Finance option | Included? | Period (years) | Finance cost (%) |  | NPV, no ESCs ($) | NPV with ESCs ($) | NPV improve-ment from ESCs (%) | NPV rank
| Self funded | Yes | 15 | N/A |  | 48267.9848 | 62881.6909 | 30.28% | 5
| Commercial loan | Yes | 5 | 6.5% |  | 60425.7129 | 81302.4359 | 34.55% | 3
| EE loan | Yes | 7 | 6% |  | 80014.6481 | 100891.3711 | 26.09% | 1
| Operating lease | Yes | 5 | 8% |  | -111534.6487 | -90657.9257 | 18.72% | 6 | Note: only the operating lease period is modelled. After this, the asset is returned to the financier.
| Capital lease | Yes | 5 | 7.5% |  | 53619.5086 | 74496.2316 | 38.93% | 4
| EUA | No | N/A | N/A
| On-bill financing | Yes | 7 | 7% |  | 71513.2559 | 92389.9789 | 29.19% | 2
Sensitivity of NPV to finance cost
The finance costs used in this tool are for the purpose of modelling only to show the indicative difference in NPV under different finance options. The actual finance costs that could be offered to you, if you apply for finance, will depend on your circumstances, the project, the prevailing market conditions and other factors. Below you can see the calculated NPVs (with ESCs) with different finance costs to illustrate their impact.
NPV (with ESCs) with different finance costs
| Finance option |  | 5% | 6% | 7% | 8% | 10% | 12% | 14%
| Commercial loan |  | 91363.6518 | 84676.0837 | 77909.0973 | 71064.0025 | 57144.7221 | 42928.6821 | 28426.2471
| EE loan |  | 109247.6553 | 100891.3711 | 92389.9789 | 83746.2138 | 66042.6996 | 47803.3831 | 29051.1201
| Operating lease |  | -69873.7243 | -76724.6754 | -83653.1784 | -90657.9257 | -104890.9339 | -119413.3012 | -134214.72
| Capital lease |  | 91363.6518 | 84676.0837 | 77909.0973 | 71064.0025 | 57144.7221 | 42928.6821 | 28426.2471
EUA
| On-bill financing |  | 109247.6553 | 100891.3711 | 92389.9789 | 83746.2138 | 66042.6996 | 47803.3831 | 29051.1201
Cashflows with each finance option ($)
| Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
With ESC creation
| Self funded |  | -306328.6891 | 45417.2048 | 46293.9968 | 47188.3246 | 48100.539 | 49030.9977 | 49980.0656 | 50948.1148 | 51935.525 | 52942.6834 | 53969.985 | 55017.8326 | 56086.6371 | 57176.8178 | 58288.802
| Commercial loan |  | -21653.3626 | -36659.2599 | -37115.6256 | -37641.1107 | -38240.9971 | 49030.9977 | 49980.0656 | 50948.1148 | 51935.525 | 52942.6834 | 53969.985 | 55017.8326 | 56086.6371 | 57176.8178 | 58288.802
| EE loan |  | 276.4618 | -14261.4336 | -14215.4582 | -14201.796 | -14223.0872 | -14282.1444 | -14381.9634 | 50948.1148 | 51935.525 | 52942.6834 | 53969.985 | 55017.8326 | 56086.6371 | 57176.8178 | 58288.802
| Operating lease |  | 1: -12217.973; 2: -25972.0791; 3: -25095.2871; 4: -24200.9593; 5: -23288.7449
| Capital lease |  | -22943.6435 | -38113.5891 | -38758.8247 | -39500.6765 | -40347.3552 | 49030.9977 | 49980.0656 | 50948.1148 | 51935.525 | 52942.6834 | 53969.985 | 55017.8326 | 56086.6371 | 57176.8178 | 58288.802
EUA
| On-bill financing |  | -972.8909 | -15613.9257 | -15686.1475 | -15807.2643 | -15981.5758 | -16213.6997 | -16508.5953 | 50948.1148 | 51935.525 | 52942.6834 | 53969.985 | 55017.8326 | 56086.6371 | 57176.8178 | 58288.802
Without ESC creation
| Self funded |  | -320942.3952 | 45417.2048 | 46293.9968 | 47188.3246 | 48100.539 | 49030.9977 | 49980.0656 | 50948.1148 | 51935.525 | 52942.6834 | 53969.985 | 55017.8326 | 56086.6371 | 57176.8178 | 58288.802
| Commercial loan |  | -42530.0856 | -36659.2599 | -37115.6256 | -37641.1107 | -38240.9971 | 49030.9977 | 49980.0656 | 50948.1148 | 51935.525 | 52942.6834 | 53969.985 | 55017.8326 | 56086.6371 | 57176.8178 | 58288.802
| EE loan |  | -20600.2612 | -14261.4336 | -14215.4582 | -14201.796 | -14223.0872 | -14282.1444 | -14381.9634 | 50948.1148 | 51935.525 | 52942.6834 | 53969.985 | 55017.8326 | 56086.6371 | 57176.8178 | 58288.802
| Operating lease |  | 1: -33094.696; 2: -25972.0791; 3: -25095.2871; 4: -24200.9593; 5: -23288.7449
| Capital lease |  | -43820.3664 | -38113.5891 | -38758.8247 | -39500.6765 | -40347.3552 | 49030.9977 | 49980.0656 | 50948.1148 | 51935.525 | 52942.6834 | 53969.985 | 55017.8326 | 56086.6371 | 57176.8178 | 58288.802
EUA
| On-bill financing |  | -21849.6139 | -15613.9257 | -15686.1475 | -15807.2643 | -15981.5758 | -16213.6997 | -16508.5953 | 50948.1148 | 51935.525 | 52942.6834 | 53969.985 | 55017.8326 | 56086.6371 | 57176.8178 | 58288.802
Cumulative cashflows with each finance option ($) | bar: 4
| Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
With ESC creation
| Self funded |  | -306328.6891 | -260911.4843 | -214617.4875 | -167429.1629 | -119328.6238 | -70297.6261 | -20317.5605 | 30630.5543 | 82566.0793 | 135508.7627 | 189478.7476 | 244496.5802 | 300583.2173 | 357760.0351 | 416048.8371 | 416048.8371 | 416048.8371 | 416048.8371 | 416048.8371 | 416048.8371
| Commercial loan |  | -21653.3626 | -58312.6226 | -95428.2482 | -133069.3589 | -171310.3561 | -122279.3583 | -72299.2928 | -21351.178 | 30584.347 | 83527.0304 | 137497.0154 | 192514.848 | 248601.4851 | 305778.3029 | 364067.1049 | 364067.1049 | 364067.1049 | 364067.1049 | 364067.1049 | 364067.1049
| EE loan |  | 276.4618 | -13984.9718 | -28200.43 | -42402.226 | -56625.3133 | -70907.4577 | -85289.4211 | -34341.3063 | 17594.2187 | 70536.9021 | 124506.887 | 179524.7196 | 235611.3567 | 292788.1745 | 351076.9766 | 351076.9766 | 351076.9766 | 351076.9766 | 351076.9766 | 351076.9766
| Operating lease |  | -12217.973 | -38190.0521 | -63285.3392 | -87486.2985 | -110775.0433 | -110775.0433 | -110775.0433 | -110775.0433 | -110775.0433 | -110775.0433 | -110775.0433 | -110775.0433 | -110775.0433 | -110775.0433 | -110775.0433 | -110775.0433 | -110775.0433 | -110775.0433 | -110775.0433 | -110775.0433
| Capital lease |  | -22943.6435 | -61057.2326 | -99816.0573 | -139316.7338 | -179664.0891 | -130633.0913 | -80653.0258 | -29704.911 | 22230.614 | 75173.2974 | 129143.2824 | 184161.115 | 240247.7521 | 297424.5699 | 355713.3719 | 355713.3719 | 355713.3719 | 355713.3719 | 355713.3719 | 355713.3719
| EUA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| On-bill financing |  | -972.8909 | -16586.8166 | -32272.9641 | -48080.2284 | -64061.8042 | -80275.5039 | -96784.0992 | -45835.9844 | 6099.5406 | 59042.224 | 113012.2089 | 168030.0415 | 224116.6786 | 281293.4964 | 339582.2984 | 339582.2984 | 339582.2984 | 339582.2984 | 339582.2984 | 339582.2984
Without ESC creation
| Self funded |  | -320942.3952 | -275525.1904 | -229231.1936 | -182042.869 | -133942.3299 | -84911.3322 | -34931.2666 | 16016.8482 | 67952.3732 | 120895.0566 | 174865.0415 | 229882.8741 | 285969.5112 | 343146.329 | 401435.1311 | 401435.1311 | 401435.1311 | 401435.1311 | 401435.1311 | 401435.1311
| Commercial loan |  | -42530.0856 | -79189.3455 | -116304.9712 | -153946.0819 | -192187.079 | -143156.0813 | -93176.0157 | -42227.9009 | 9707.6241 | 62650.3075 | 116620.2924 | 171638.125 | 227724.7621 | 284901.5799 | 343190.3819 | 343190.3819 | 343190.3819 | 343190.3819 | 343190.3819 | 343190.3819
| EE loan |  | -20600.2612 | -34861.6948 | -49077.153 | -63278.949 | -77502.0362 | -91784.1807 | -106166.1441 | -55218.0293 | -3282.5043 | 49660.1791 | 103630.1641 | 158647.9966 | 214734.6338 | 271911.4515 | 330200.2536 | 330200.2536 | 330200.2536 | 330200.2536 | 330200.2536 | 330200.2536
| Operating lease |  | -33094.696 | -59066.7751 | -84162.0622 | -108363.0215 | -131651.7663 | -131651.7663 | -131651.7663 | -131651.7663 | -131651.7663 | -131651.7663 | -131651.7663 | -131651.7663 | -131651.7663 | -131651.7663 | -131651.7663 | -131651.7663 | -131651.7663 | -131651.7663 | -131651.7663 | -131651.7663
| Capital lease |  | -43820.3664 | -81933.9556 | -120692.7803 | -160193.4568 | -200540.812 | -151509.8143 | -101529.7487 | -50581.6339 | 1353.891 | 54296.5744 | 108266.5594 | 163284.392 | 219371.0291 | 276547.8469 | 334836.6489 | 334836.6489 | 334836.6489 | 334836.6489 | 334836.6489 | 334836.6489
| EUA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| On-bill financing |  | -21849.6139 | -37463.5396 | -53149.687 | -68956.9514 | -84938.5272 | -101152.2269 | -117660.8222 | -66712.7074 | -14777.1824 | 38165.501 | 92135.4859 | 147153.3185 | 203239.9557 | 260416.7734 | 318705.5755 | 318705.5755 | 318705.5755 | 318705.5755 | 318705.5755 | 318705.5755
End | bar: 3

## Part 2 - calculations
Energy Efficiency and Renewables Finance Guide: Refrigeration case study
Part 2: Inputs
| Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Variables common to all financing options | bar: 4
Cost of installing and maintaining equipment
| Capital expenditure ($) |  | 1: -365500
| Operation and maintenance cost ($) |  | -8189.136 | -8189.136 | -8189.136 | -8189.136 | -8189.136 | -8189.136 | -8189.136 | -8189.136 | -8189.136 | -8189.136 | -8189.136 | -8189.136 | -8189.136 | -8189.136 | -8189.136
Energy savings
| Electricity savings (kWh) |  | 307000 | 307000 | 307000 | 307000 | 307000 | 307000 | 307000 | 307000 | 307000 | 307000 | 307000 | 307000 | 307000 | 307000 | 307000
| Electricity price ($/MWh) |  | 200 | 204 | 208.08 | 212.2416 | 216.4864 | 220.8162 | 225.2325 | 229.7371 | 234.3319 | 239.0185 | 243.7989 | 248.6749 | 253.6484 | 258.7213 | 263.8958
| Electricity cost reduction ($) |  | 61400 | 62628 | 63880.56 | 65158.1712 | 66461.3346 | 67790.5613 | 69146.3725 | 70529.3 | 71939.886 | 73378.6837 | 74846.2574 | 76343.1825 | 77870.0462 | 79427.4471 | 81015.9961
Energy Savings Certificates
| Years of forward creation (yrs) | 10
| Decay factor |  | 1 | 0.99088 | 0.98176 | 0.97264 | 0.96352 | 0.9544 | 0.94528 | 0.93616 | 0.92704 | 0
| ESCs created upfront |  | 1: 2539.7473
| ESC revenue ($) |  | 1: 20876.723
Depreciation
| Equipment life (years) |  | 1: 15
| Annual depreciation (%) |  | 1: 6.667%
| Depreciation ($) |  | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667 | -24366.6667
Financing Option 1: Self funded | bar: 3
| Option being considered? | Yes
| Finance period (years) | 15
| Finance cost | N/A
Tax
O&M costs and depreciation reduce taxable income, while lower electricity costs and ESC revenue increase it
| Total change to taxable income - with ESCs ($) |  | 49720.9203 | 30072.1973 | 31324.7573 | 32602.3685 | 33905.532 | 35234.7586 | 36590.5699 | 37973.4973 | 39384.0833 | 40822.881 | 42290.4547 | 43787.3799 | 45314.2435 | 46871.6444 | 48460.1934
| Change in tax payable - with ESCs ($) |  | -14916.2761 | -9021.6592 | -9397.4272 | -9780.7106 | -10171.6596 | -10570.4276 | -10977.171 | -11392.0492 | -11815.225 | -12246.8643 | -12687.1364 | -13136.214 | -13594.2731 | -14061.4933 | -14538.058
| Total change to taxable income - without ESCs ($) |  | 28844.1973 | 30072.1973 | 31324.7573 | 32602.3685 | 33905.532 | 35234.7586 | 36590.5699 | 37973.4973 | 39384.0833 | 40822.881 | 42290.4547 | 43787.3799 | 45314.2435 | 46871.6444 | 48460.1934
| Change in tax payable - without ESCs ($) |  | -8653.2592 | -9021.6592 | -9397.4272 | -9780.7106 | -10171.6596 | -10570.4276 | -10977.171 | -11392.0492 | -11815.225 | -12246.8643 | -12687.1364 | -13136.214 | -13594.2731 | -14061.4933 | -14538.058
Cash flows and NPV
Cash outflows comprise of cash paid to install the equipment, O&M costs and tax payable.
Cash inflows comprise of the reductions in electricity costs and ESC revenue
| Cash flows - with ESCs ($) |  | -306328.6891 | 45417.2048 | 46293.9968 | 47188.3246 | 48100.539 | 49030.9977 | 49980.0656 | 50948.1148 | 51935.525 | 52942.6834 | 53969.985 | 55017.8326 | 56086.6371 | 57176.8178 | 58288.802
| Cash flows - without ESCs ($) |  | -320942.3952 | 45417.2048 | 46293.9968 | 47188.3246 | 48100.539 | 49030.9977 | 49980.0656 | 50948.1148 | 51935.525 | 52942.6834 | 53969.985 | 55017.8326 | 56086.6371 | 57176.8178 | 58288.802
| Discount factor |  | 1 | 0.90909 | 0.82645 | 0.75131 | 0.68301 | 0.62092 | 0.56447 | 0.51316 | 0.46651 | 0.4241 | 0.38554 | 0.35049 | 0.31863 | 0.28966 | 0.26333
| NPV - with ESCs ($) |  | 1: 62881.6909
| NPV - without ESCs ($) |  | 1: 48267.9848
Financing Option 2: Commercial loan | bar: 3
| Option being considered? | Yes
| Finance period (years) | 5
| Finance cost | 6.5%
Commercial loan
| Opening balance ($) |  | 1: 0; 2: 301305.5765; 3: 232938.5155; 4: 160127.5955; 5: 82583.9657; 6: 0
| New loan amount ($) |  | 1: 365500; 2: 0; 3: 0; 4: 0; 5: 0
| Principal repayments ($) |  | 1: -64194.4235; 2: -68367.061; 3: -72810.92; 4: -77543.6298; 5: -82583.9657
| Closing balance ($) |  | 1: 301305.5765; 2: 232938.5155; 3: 160127.5955; 4: 82583.9657; 5: 0
| Interest costs ($) |  | 1: -23757.5; 2: -19584.8625; 3: -15141.0035; 4: -10408.2937; 5: -5367.9578
| Principal repayment ($) |  | 1: -64194.4235; 2: -68367.061; 3: -72810.92; 4: -77543.6298; 5: -82583.9657
| Total loan payment ($) |  | 1: -87951.9235; 2: -87951.9235; 3: -87951.9235; 4: -87951.9235; 5: -87951.9235
Tax
O&M costs, depreciation and interest costs reduce taxable income, while lower electricity costs and ESC revenue increase it
| Total change to taxable income - with ESCs ($) |  | 25963.4203 | 10487.3349 | 16183.7538 | 22194.0748 | 28537.5742 | 35234.7586 | 36590.5699 | 37973.4973 | 39384.0833 | 40822.881 | 42290.4547 | 43787.3799 | 45314.2435 | 46871.6444 | 48460.1934
| Change in tax payable - with ESCs ($) |  | -7789.0261 | -3146.2005 | -4855.1261 | -6658.2224 | -8561.2723 | -10570.4276 | -10977.171 | -11392.0492 | -11815.225 | -12246.8643 | -12687.1364 | -13136.214 | -13594.2731 | -14061.4933 | -14538.058
| Total change to taxable income - without ESCs ($) |  | 5086.6973 | 10487.3349 | 16183.7538 | 22194.0748 | 28537.5742 | 35234.7586 | 36590.5699 | 37973.4973 | 39384.0833 | 40822.881 | 42290.4547 | 43787.3799 | 45314.2435 | 46871.6444 | 48460.1934
| Change in tax payable - without ESCs ($) |  | -1526.0092 | -3146.2005 | -4855.1261 | -6658.2224 | -8561.2723 | -10570.4276 | -10977.171 | -11392.0492 | -11815.225 | -12246.8643 | -12687.1364 | -13136.214 | -13594.2731 | -14061.4933 | -14538.058
Cash flows and NPV
Cash outflows comprise of cash paid to install the equipment, O&M costs, loan payments and tax payable.
Cash inflows comprise of the loan amount, reductions in electricity costs and ESC revenue
| Cash flows - with ESCs ($) |  | -21653.3626 | -36659.2599 | -37115.6256 | -37641.1107 | -38240.9971 | 49030.9977 | 49980.0656 | 50948.1148 | 51935.525 | 52942.6834 | 53969.985 | 55017.8326 | 56086.6371 | 57176.8178 | 58288.802
| Cash flows - without ESCs ($) |  | -42530.0856 | -36659.2599 | -37115.6256 | -37641.1107 | -38240.9971 | 49030.9977 | 49980.0656 | 50948.1148 | 51935.525 | 52942.6834 | 53969.985 | 55017.8326 | 56086.6371 | 57176.8178 | 58288.802
| Discount factor |  | 1 | 0.90909 | 0.82645 | 0.75131 | 0.68301 | 0.62092 | 0.56447 | 0.51316 | 0.46651 | 0.4241 | 0.38554 | 0.35049 | 0.31863 | 0.28966 | 0.26333
| NPV - with ESCs ($) |  | 1: 81302.4359
| NPV - without ESCs ($) |  | 1: 60425.7129
Financing Option 3: EE loan | bar: 3
| Option being considered? | Yes
| Finance period (years) | 7
| Finance cost | 6%
EE loan
| Opening balance ($) |  | 1: 0; 2: 321956.1509; 3: 275799.6709; 4: 226873.802; 5: 175012.381; 6: 120039.2748; 7: 61767.7822; 8: -1.0186e-10
| New loan amount ($) |  | 1: 365500; 2: 0; 3: 0; 4: 0; 5: 0; 6: 0; 7: 0
| Principal repayments ($) |  | 1: -43543.8491; 2: -46156.48; 3: -48925.8688; 4: -51861.421; 5: -54973.1062; 6: -58271.4926; 7: -61767.7822
| Closing balance ($) |  | 1: 321956.1509; 2: 275799.6709; 3: 226873.802; 4: 175012.381; 5: 120039.2748; 6: 61767.7822; 7: -1.0186e-10
| Interest costs ($) |  | 1: -21930; 2: -19317.3691; 3: -16547.9803; 4: -13612.4281; 5: -10500.7429; 6: -7202.3565; 7: -3706.0669
| Principal repayment ($) |  | 1: -43543.8491; 2: -46156.48; 3: -48925.8688; 4: -51861.421; 5: -54973.1062; 6: -58271.4926; 7: -61767.7822
| Total loan payment ($) |  | 1: -65473.8491; 2: -65473.8491; 3: -65473.8491; 4: -65473.8491; 5: -65473.8491; 6: -65473.8491; 7: -65473.8491
Tax
O&M costs, depreciation and interest costs reduce taxable income, while lower electricity costs and ESC revenue increase it
| Total change to taxable income - with ESCs ($) |  | 27790.9203 | 10754.8283 | 14776.7771 | 18989.9404 | 23404.7891 | 28032.4022 | 32884.5029 | 37973.4973 | 39384.0833 | 40822.881 | 42290.4547 | 43787.3799 | 45314.2435 | 46871.6444 | 48460.1934
| Change in tax payable - with ESCs ($) |  | -8337.2761 | -3226.4485 | -4433.0331 | -5696.9821 | -7021.4367 | -8409.7206 | -9865.3509 | -11392.0492 | -11815.225 | -12246.8643 | -12687.1364 | -13136.214 | -13594.2731 | -14061.4933 | -14538.058
| Total change to taxable income - without ESCs ($) |  | 6914.1973 | 10754.8283 | 14776.7771 | 18989.9404 | 23404.7891 | 28032.4022 | 32884.5029 | 37973.4973 | 39384.0833 | 40822.881 | 42290.4547 | 43787.3799 | 45314.2435 | 46871.6444 | 48460.1934
| Change in tax payable - without ESCs ($) |  | -2074.2592 | -3226.4485 | -4433.0331 | -5696.9821 | -7021.4367 | -8409.7206 | -9865.3509 | -11392.0492 | -11815.225 | -12246.8643 | -12687.1364 | -13136.214 | -13594.2731 | -14061.4933 | -14538.058
Cash flows and NPV
Cash outflows comprise of cash paid to install the equipment, O&M costs, loan payments and tax payable.
Cash inflows comprise of the loan amount, reductions in electricity costs and ESC revenue
| Cash flows - with ESCs ($) |  | 276.4618 | -14261.4336 | -14215.4582 | -14201.796 | -14223.0872 | -14282.1444 | -14381.9634 | 50948.1148 | 51935.525 | 52942.6834 | 53969.985 | 55017.8326 | 56086.6371 | 57176.8178 | 58288.802
| Cash flows - without ESCs ($) |  | -20600.2612 | -14261.4336 | -14215.4582 | -14201.796 | -14223.0872 | -14282.1444 | -14381.9634 | 50948.1148 | 51935.525 | 52942.6834 | 53969.985 | 55017.8326 | 56086.6371 | 57176.8178 | 58288.802
| Discount factor |  | 1 | 0.90909 | 0.82645 | 0.75131 | 0.68301 | 0.62092 | 0.56447 | 0.51316 | 0.46651 | 0.4241 | 0.38554 | 0.35049 | 0.31863 | 0.28966 | 0.26333
| NPV - with ESCs ($) |  | 1: 100891.3711
| NPV - without ESCs ($) |  | 1: 80014.6481
Financing Option 4: Operating lease | bar: 3
| Option being considered? | Yes
| Finance period (years) | 5
| Finance cost | 8%
Operating lease
| New lease amount ($) |  | 1: 365500; 2: 0; 3: 0; 4: 0; 5: 0
| Total lease payment ($) |  | 1: -91541.8341; 2: -91541.8341; 3: -91541.8341; 4: -91541.8341; 5: -91541.8341
Tax
O&M costs and lease payments reduce taxable income, while lower electricity costs and ESC revenue increase it
| Total change to taxable income - with ESCs ($) |  | 1: -17454.2472; 2: -37102.9701; 3: -35850.4101; 4: -34572.7989; 5: -33269.6355
| Change in tax payable - with ESCs ($) |  | 1: 5236.2741; 2: 11130.891; 3: 10755.123; 4: 10371.8397; 5: 9980.8907
| Total change to taxable income - without ESCs ($) |  | 1: -38330.9701; 2: -37102.9701; 3: -35850.4101; 4: -34572.7989; 5: -33269.6355
| Change in tax payable - without ESCs ($) |  | 1: 11499.291; 2: 11130.891; 3: 10755.123; 4: 10371.8397; 5: 9980.8907
Cash flows and NPV
Cash outflows comprise of O&M costs, lease payments and tax payable.
Cash inflows comprise of reductions in electricity costs and ESC revenue.
| Cash flows - with ESCs ($) |  | 1: -12217.973; 2: -25972.0791; 3: -25095.2871; 4: -24200.9593; 5: -23288.7449
| Cash flows - without ESCs ($) |  | 1: -33094.696; 2: -25972.0791; 3: -25095.2871; 4: -24200.9593; 5: -23288.7449
| Discount factor |  | 1: 1; 2: 0.90909; 3: 0.82645; 4: 0.75131; 5: 0.68301
| NPV - with ESCs ($) |  | 1: -90657.9257
| NPV - without ESCs ($) |  | 1: -111534.6487
Financing Option 5: Capital lease | bar: 3
| Option being considered? | Yes
| Finance period (years) | 5
| Finance cost | 7.5%
Capital lease
| Opening balance ($) |  | 1: 0; 2: 302573.7956; 3: 234928.126; 4: 162209.0311; 5: 84036.004; 6: 0
| New lease amount ($) |  | 1: 365500; 2: 0; 3: 0; 4: 0; 5: 0
| Effective principal repayments ($) |  | 1: -62926.2044; 2: -67645.6697; 3: -72719.0949; 4: -78173.027; 5: -84036.004
| Closing balance ($) |  | 1: 302573.7956; 2: 234928.126; 3: 162209.0311; 4: 84036.004; 5: 0
| Effective interest costs ($) |  | 1: -27412.5; 2: -22693.0347; 3: -17619.6094; 4: -12165.6773; 5: -6302.7003
| Effective principal repayments ($) |  | 1: -62926.2044; 2: -67645.6697; 3: -72719.0949; 4: -78173.027; 5: -84036.004
| Total lease payment ($) |  | 1: -90338.7044; 2: -90338.7044; 3: -90338.7044; 4: -90338.7044; 5: -90338.7044
Tax
O&M costs, depreciation and the interest component of the lease payments reduce taxable income, while lower electricity costs and ESC revenue increase it
| Total change to taxable income - with ESCs ($) |  | 22308.4203 | 7379.1627 | 13705.1479 | 20436.6912 | 27602.8317 | 35234.7586 | 36590.5699 | 37973.4973 | 39384.0833 | 40822.881 | 42290.4547 | 43787.3799 | 45314.2435 | 46871.6444 | 48460.1934
| Change in tax payable - with ESCs ($) |  | -6692.5261 | -2213.7488 | -4111.5444 | -6131.0074 | -8280.8495 | -10570.4276 | -10977.171 | -11392.0492 | -11815.225 | -12246.8643 | -12687.1364 | -13136.214 | -13594.2731 | -14061.4933 | -14538.058
| Total change to taxable income - without ESCs ($) |  | 1431.6973 | 7379.1627 | 13705.1479 | 20436.6912 | 27602.8317 | 35234.7586 | 36590.5699 | 37973.4973 | 39384.0833 | 40822.881 | 42290.4547 | 43787.3799 | 45314.2435 | 46871.6444 | 48460.1934
| Change in tax payable - without ESCs ($) |  | -429.5092 | -2213.7488 | -4111.5444 | -6131.0074 | -8280.8495 | -10570.4276 | -10977.171 | -11392.0492 | -11815.225 | -12246.8643 | -12687.1364 | -13136.214 | -13594.2731 | -14061.4933 | -14538.058
Cash flows and NPV
Cash outflows comprise of O&M costs, lease payments and tax payable.
Cash inflows comprise of reductions in electricity costs and ESC revenue
| Cash flows - with ESCs ($) |  | -22943.6435 | -38113.5891 | -38758.8247 | -39500.6765 | -40347.3552 | 49030.9977 | 49980.0656 | 50948.1148 | 51935.525 | 52942.6834 | 53969.985 | 55017.8326 | 56086.6371 | 57176.8178 | 58288.802
| Cash flows - without ESCs ($) |  | -43820.3664 | -38113.5891 | -38758.8247 | -39500.6765 | -40347.3552 | 49030.9977 | 49980.0656 | 50948.1148 | 51935.525 | 52942.6834 | 53969.985 | 55017.8326 | 56086.6371 | 57176.8178 | 58288.802
| Discount factor |  | 1 | 0.90909 | 0.82645 | 0.75131 | 0.68301 | 0.62092 | 0.56447 | 0.51316 | 0.46651 | 0.4241 | 0.38554 | 0.35049 | 0.31863 | 0.28966 | 0.26333
| NPV - with ESCs ($) |  | 1: 74496.2316
| NPV - without ESCs ($) |  | 1: 53619.5086
Financing Option 6: EUA | bar: 3
| Option being considered? | No
| Finance period (years) | N/A
| Finance cost | N/A
EUA
Opening balance ($)
New EUA amount ($)
Principal repayments ($)
Closing balance ($)
Interest costs ($)
Principal repayment ($)
Total Environmental Upgrade Charge ($)
Tax
O&M costs, depreciation and the interest component of the Environmental Upgrade Charges reduce\ taxable income, while lower electricity costs and ESC revenue increase it
Total change to taxable income - with ESCs ($)
Change in tax payable - with ESCs ($)
Total change to taxable income - without ESCs ($)
Change in tax payable - without ESCs ($)
Cash flows and NPV
Cash outflows comprise of cash paid to install the equipment, O&M costs, Environmental Upgrade Charges and tax payable.
Cash inflows comprise of the EUA amount, reductions in electricity costs and ESC revenue
Cash flows - with ESCs ($)
Cash flows - without ESCs ($)
Discount factor
NPV - with ESCs ($)
NPV - without ESCs ($)
Financing Option 7: On-bill financing | bar: 3
| Option being considered? | Yes
| Finance period (years) | 7
| Finance cost | 7%
On-bill financing
| Opening balance ($) |  | 1: 0; 2: 323265.2982; 3: 278074.1673; 4: 229719.6573; 5: 177980.3315; 6: 122619.2529; 7: 63382.8989; 8: 0
| New finance amount ($) |  | 1: 365500; 2: 0; 3: 0; 4: 0; 5: 0; 6: 0; 7: 0
| Principal repayments ($) |  | 1: -42234.7018; 2: -45191.1309; 3: -48354.5101; 4: -51739.3258; 5: -55361.0786; 6: -59236.3541; 7: -63382.8989
| Closing balance ($) |  | 1: 323265.2982; 2: 278074.1673; 3: 229719.6573; 4: 177980.3315; 5: 122619.2529; 6: 63382.8989; 7: 0
| Interest costs ($) |  | 1: -25585; 2: -22628.5709; 3: -19465.1917; 4: -16080.376; 5: -12458.6232; 6: -8583.3477; 7: -4436.8029
| Principal repayment ($) |  | 1: -42234.7018; 2: -45191.1309; 3: -48354.5101; 4: -51739.3258; 5: -55361.0786; 6: -59236.3541; 7: -63382.8989
| Total additional on-bill charge ($) |  | 1: -67819.7018; 2: -67819.7018; 3: -67819.7018; 4: -67819.7018; 5: -67819.7018; 6: -67819.7018; 7: -67819.7018
Tax
O&M costs, depreciation and interest component of the on-bill charges reduce taxable income, while lower electricity costs and ESC revenue increase it
| Total change to taxable income - with ESCs ($) |  | 24135.9203 | 7443.6265 | 11859.5656 | 16521.9925 | 21446.9088 | 26651.4109 | 32153.767 | 37973.4973 | 39384.0833 | 40822.881 | 42290.4547 | 43787.3799 | 45314.2435 | 46871.6444 | 48460.1934
| Change in tax payable - with ESCs ($) |  | -7240.7761 | -2233.0879 | -3557.8697 | -4956.5978 | -6434.0726 | -7995.4233 | -9646.1301 | -11392.0492 | -11815.225 | -12246.8643 | -12687.1364 | -13136.214 | -13594.2731 | -14061.4933 | -14538.058
| Total change to taxable income - without ESCs ($) |  | 3259.1973 | 7443.6265 | 11859.5656 | 16521.9925 | 21446.9088 | 26651.4109 | 32153.767 | 37973.4973 | 39384.0833 | 40822.881 | 42290.4547 | 43787.3799 | 45314.2435 | 46871.6444 | 48460.1934
| Change in tax payable - without ESCs ($) |  | -977.7592 | -2233.0879 | -3557.8697 | -4956.5978 | -6434.0726 | -7995.4233 | -9646.1301 | -11392.0492 | -11815.225 | -12246.8643 | -12687.1364 | -13136.214 | -13594.2731 | -14061.4933 | -14538.058
Cash flows and NPV
Cash outflows comprise of cash paid to install the equipment, O&M costs, loan payments and tax payable.
Cash inflows comprise of the financed amount, reductions in electricity costs and ESC revenue
| Cash flows - with ESCs ($) |  | -972.8909 | -15613.9257 | -15686.1475 | -15807.2643 | -15981.5758 | -16213.6997 | -16508.5953 | 50948.1148 | 51935.525 | 52942.6834 | 53969.985 | 55017.8326 | 56086.6371 | 57176.8178 | 58288.802
| Cash flows - without ESCs ($) |  | -21849.6139 | -15613.9257 | -15686.1475 | -15807.2643 | -15981.5758 | -16213.6997 | -16508.5953 | 50948.1148 | 51935.525 | 52942.6834 | 53969.985 | 55017.8326 | 56086.6371 | 57176.8178 | 58288.802
| Discount factor |  | 1 | 0.90909 | 0.82645 | 0.75131 | 0.68301 | 0.62092 | 0.56447 | 0.51316 | 0.46651 | 0.4241 | 0.38554 | 0.35049 | 0.31863 | 0.28966 | 0.26333
| NPV - with ESCs ($) |  | 1: 92389.9789
| NPV - without ESCs ($) |  | 1: 71513.2559
End | bar: 3

## Finance assumptions
Energy Efficiency and Renewables Finance Guide: Refrigeration case study
Finance assumptions
Finance assumptions
Minimum finance amounts
| Finance option | Minimum finance amount ($) | Finance amount SME threshold ($)
| Self funded | 0 | 0
| Commercial loan | 10000 | 10000
| EE loan | 250000 | 250000
| Operating lease | 2000 | 2000
| Capital lease | 2000 | 2000
| EUA | 10000 | 250000
| On-bill financing | 10000 | 10000
Other assumptions - SMEs
| Finance option | Min finance period (yrs) | Max finance period (yrs) | Finance cost (%)
| Self funded | N/A | N/A | N/A
| Commercial loan | 1 | 15 | 7%
| EE loan | 3 | 7 | 6%
| Operating lease | 3 | 5 | 8%
| Capital lease | 1 | 5 | 7.5%
| EUA | 1 | 20 | 7.5%
| On-bill financing | 3 | 7 | 7%
Other assumptions - large organisations
| Finance option | Min finance period (yrs) | Max finance period (yrs) | Finance cost (%)
| Self funded | N/A | N/A | N/A
| Commercial loan | 1 | 5 | 6.5%
| EE loan | 3 | 7 | 6%
| Operating lease | 3 | 5 | 8%
| Capital lease | 1 | 5 | 7.5%
| EUA | 1 | 10 | 6%
| On-bill financing | 3 | 7 | 7%
Case study assumptions
| Finance option | Finance period (yrs) | Finance cost (%)
| Self funded | 15 | N/A
| Commercial loan | 5 | 6.5%
| EE loan | 7 | 6%
| Operating lease | 5 | 8%
| Capital lease | 5 | 7.5%
| EUA | N/A | N/A
| On-bill financing | 7 | 7%
Assumptions in use
| Finance option | Finance period (yrs) | Finance cost (%)
| Self funded | 15 | N/A
| Commercial loan | 5 | 6.5%
| EE loan | 7 | 6%
| Operating lease | 5 | 8%
| Capital lease | 5 | 7.5%
| EUA | N/A | N/A
| On-bill financing | 7 | 7%
Sensitivity analysis on finance cost
Results
| Finance option | Included? | Period (years) | Finance cost (%) |  | NPV with ESCs ($)
| Self funded | Yes | 15 | N/A |  | 62881.6909
| Commercial loan | Yes | 5 | 6.5% |  | 81302.4359
| EE loan | Yes | 7 | 6% |  | 100891.3711
| Operating lease | Yes | 5 | 8% |  | -90657.9257
| Capital lease | Yes | 5 | 7.5% |  | 74496.2316
| EUA | No | N/A | N/A
| On-bill financing | Yes | 7 | 7% |  | 92389.9789
Sensitivities
|  |  | 5% | 6% | 7% | 8% | 10% | 12% | 14%
| Commercial loan | 81302.4359 | 91363.6518 | 84676.0837 | 77909.0973 | 71064.0025 | 57144.7221 | 42928.6821 | 28426.2471
|  |  | 5% | 6% | 7% | 8% | 10% | 12% | 14%
| EE loan | 100891.3711 | 109247.6553 | 100891.3711 | 92389.9789 | 83746.2138 | 66042.6996 | 47803.3831 | 29051.1201
|  |  | 5% | 6% | 7% | 8% | 10% | 12% | 14%
| Operating lease | -90657.9257 | -69873.7243 | -76724.6754 | -83653.1784 | -90657.9257 | -104890.9339 | -119413.3012 | -134214.72
|  |  | 5% | 6% | 7% | 8% | 10% | 12% | 14%
| Capital lease | 74496.2316 | 91363.6518 | 84676.0837 | 77909.0973 | 71064.0025 | 57144.7221 | 42928.6821 | 28426.2471
|  |  | 5% | 6% | 7% | 8% | 10% | 12% | 14%
EUA
|  |  | 5% | 6% | 7% | 8% | 10% | 12% | 14%
| On-bill financing | 92389.9789 | 109247.6553 | 100891.3711 | 92389.9789 | 83746.2138 | 66042.6996 | 47803.3831 | 29051.1201
EUA postcodes
| Source: | http://www.dlg.nsw.gov.au/dlg/dlghome/dlg_regions.asp
| Suburb | Postcode | Across councils | Council
| BALLS HEAD | 2060 |  | North Sydney
| BERRYS BAY | 2060 |  | North Sydney
| BLUES POINT | 2060 |  | North Sydney
| CAMMERAY | 2062 |  | North Sydney
| CREMORNE | 2090 | *** | North Sydney
| CREMORNE JUNCTION | 2090 | *** | North Sydney
| CREMORNE NORTH | 2090 |  | North Sydney
| CREMORNE POINT | 2090 |  | North Sydney
| CROWS NEST | 2065 | *** | North Sydney
| HMAS PLATYPUS | 2060 |  | North Sydney
| HMAS WATERHEN | 2060 |  | North Sydney
| KIRRIBILLI | 2061 |  | North Sydney
| KURRABA POINT | 2089 |  | North Sydney
| LAVENDER BAY | 2060 |  | North Sydney
| MATER MISERICORDIAE HOSPITAL | 2065 |  | North Sydney
| MCMAHONS POINT | 2060 |  | North Sydney
| MILSONS POINT | 2061 |  | North Sydney
| MOSMAN BAY | 2088 | *** | North Sydney
| MOSMANS BAY | 2088 | *** | North Sydney
| NAREMBURN | 2065 | *** | North Sydney
| NEUTRAL BAY | 2089 |  | North Sydney
| NEUTRAL BAY JUNCTION | 2089 |  | North Sydney
| NORTH SYDNEY | 2055 |  | North Sydney
| NORTH SYDNEY SHOPPINGWORLD | 2055 |  | North Sydney
| ST LEONARDS | 2065 | *** | North Sydney
| WAVERTON | 2060 |  | North Sydney
| WOLLSTONECRAFT | 2065 | *** | North Sydney
| ALEXANDRIA | 2015 |  | Sydney
| ANNANDALE | 2038 | *** | Sydney
| BEACONSFIELD | 2015 |  | Sydney
| BROADWAY | 2007 |  | Sydney
| CAMPERDOWN | 2050 | *** | Sydney
| CENTENNIAL PARK | 2021 | *** | Sydney
| CHINATOWN | 2000 |  | Sydney
| CHIPPENDALE | 2008 |  | Sydney
| CHURCH HILL | 2000 |  | Sydney
| CIRCULAR QUAY | 2000 |  | Sydney
| DARLING HARBOUR | 2000 |  | Sydney
| DARLINGHURST | 2010 |  | Sydney
| DARLINGTON | 2008 |  | Sydney
| DAWES POINT | 2000 |  | Sydney
| EAST SYDNEY | 2010 |  | Sydney
| ELIZABETH BAY | 2011 |  | Sydney
| ERSKINEVILLE | 2043 |  | Sydney
| EVELEIGH | 2015 |  | Sydney
| FOREST LODGE | 2037 |  | Sydney
| GARDEN ISLAND | 2011 |  | Sydney
| GLEBE | 2037 |  | Sydney
| GOAT ISLAND | 2000 |  | Sydney
| GOLDEN GROVE | 2008 |  | Sydney
| HAYMARKET | 2000 |  | Sydney
| HMAS KUTTABUL | 2011 |  | Sydney
| KINGS CROSS | 2011 |  | Sydney
| MACDONALDTOWN | 2042 |  | Sydney
| MILLERS POINT | 2000 |  | Sydney
| MOORE PARK | 2021 |  | Sydney
| NEWTOWN | 2042 | *** | Sydney
| PADDINGTON | 2021 | *** | Sydney
| PARLIAMENT HOUSE SYDNEY | 2000 |  | Sydney
| POTTS POINT | 2011 |  | Sydney
| PYRMONT | 2009 |  | Sydney
| REDFERN | 2016 |  | Sydney
| ROSEBERY | 2018 | *** | Sydney
| RUSHCUTTERS BAY | 2011 |  | Sydney
| ST JAMES | 2000 |  | Sydney
| ST PETERS | 2044 | *** | Sydney
| STRAWBERRY HILLS | 2010 |  | Sydney
| SURRY HILLS | 2010 |  | Sydney
| SYDNEY | 2000 |  | Sydney
| THE ROCKS | 2000 |  | Sydney
| ULTIMO | 2007 |  | Sydney
| UNIVERSITY OF SYDNEY | 2006 |  | Sydney
| WATERLOO | 2017 |  | Sydney
| WOOLLOOMOOLOO | 2011 |  | Sydney
| ZETLAND | 2017 |  | Sydney
| BAULKHAM HILLS | 2153 | *** | Parramatta
| BLAXCELL | 2142 |  | Parramatta
| CAMELLIA | 2142 |  | Parramatta
| CARLINGFORD | 2118 | *** | Parramatta
| CLYDE | 2142 |  | Parramatta
| CLYDE JUNCTION | 2142 |  | Parramatta
| DELLWOOD | 2161 |  | Parramatta
| DUNDAS | 2117 |  | Parramatta
| DUNDAS VALLEY | 2117 |  | Parramatta
| DUNDAS WEST | 2117 |  | Parramatta
| EAST GRANVILLE | 2142 |  | Parramatta
| EASTWOOD | 2122 | *** | Parramatta
| EASTWOOD HEIGHTS | 2122 | *** | Parramatta
| EPPING | 2121 | *** | Parramatta
| EPPING WEST | 2121 | *** | Parramatta
| ERMINGTON | 2115 |  | Parramatta
| GRANVILLE | 2142 | *** | Parramatta
| GRANVILLE NORTH | 2142 |  | Parramatta
| GUILDFORD | 2161 | *** | Parramatta
| GUILDFORD EAST | 2161 |  | Parramatta
| GUILDFORD NORTH | 2160 | *** | Parramatta
| HARRIS PARK | 2150 | *** | Parramatta
| KINGSDENE | 2118 |  | Parramatta
| LAKE PARRAMATTA | 2151 |  | Parramatta
| MAY VILLA | 2117 |  | Parramatta
| MELROSE PARK | 2114 | *** | Parramatta
| MERRYLANDS | 2160 | *** | Parramatta
| MODEL FARMS | 2153 |  | Parramatta
| NORTH CHESTER HILL | 2162 |  | Parramatta
| NORTH WENTWORTHVILLE | 2145 |  | Parramatta
| NORTHMEAD | 2152 | *** | Parramatta
| OATLANDS | 2117 | *** | Parramatta
| OLD TOONGABBIE | 2146 |  | Parramatta
| PARRAMATTA | 2150 | *** | Parramatta
| PARRAMATTA EAST | 2150 |  | Parramatta
| PARRAMATTA NORTH | 2151 | *** | Parramatta
| PARRAMATTA PARK | 2150 |  | Parramatta
| PARRAMATTA WESTFIELD | 2150 |  | Parramatta
| PENDLE HILL | 2145 | *** | Parramatta
| ROSEHILL | 2142 |  | Parramatta
| RYDALMERE | 2116 |  | Parramatta
| SEFTON | 2162 | *** | Parramatta
| SOUTH GRANVILLE | 2142 |  | Parramatta
| TELOPEA | 2117 |  | Parramatta
| TOONGABBIE | 2146 | *** | Parramatta
| TOONGABBIE EAST | 2146 |  | Parramatta
| WENTWORTHVILLE | 2145 | *** | Parramatta
| WEST PARRAMATTA | 2150 |  | Parramatta
| WESTMEAD | 2145 | *** | Parramatta
| WINSTON HILLS | 2153 |  | Parramatta
| ADAMSTOWN HEIGHTS | 2289 | *** | Lake Macquarie
| ARCADIA VALE | 2283 |  | Lake Macquarie
| ARGENTON | 2284 |  | Lake Macquarie
| AVONDALE | 2265 |  | Lake Macquarie
| AWABA | 2283 |  | Lake Macquarie
| BALCOLYN | 2264 |  | Lake Macquarie
| BALMORAL | 2283 |  | Lake Macquarie
| BARNSLEY | 2278 |  | Lake Macquarie
| BAYSWATER | 2283 |  | Lake Macquarie
| BELMONT | 2280 |  | Lake Macquarie
| BELMONT NORTH | 2280 |  | Lake Macquarie
| BELMONT SOUTH | 2280 |  | Lake Macquarie
| BENNETTS GREEN | 2290 |  | Lake Macquarie
| BLACKALLS PARK | 2283 |  | Lake Macquarie
| BLACKSMITHS | 2281 |  | Lake Macquarie
| BOLTON POINT | 2283 |  | Lake Macquarie
| BONNELLS BAY | 2264 |  | Lake Macquarie
| BOOLAROO | 2284 |  | Lake Macquarie
| BOORAGUL | 2284 |  | Lake Macquarie
| BRIGHTWATERS | 2264 |  | Lake Macquarie
| BULGONIA | 2264 |  | Lake Macquarie
| BUTTABA | 2283 |  | Lake Macquarie
| CAMERON PARK | 2285 |  | Lake Macquarie
| CAMS WHARF | 2281 |  | Lake Macquarie
| CARDIFF | 2285 |  | Lake Macquarie
| CARDIFF HEIGHTS | 2285 |  | Lake Macquarie
| CARDIFF SOUTH | 2285 |  | Lake Macquarie
| CAREY BAY | 2283 |  | Lake Macquarie
| CATHERINE HILL BAY | 2281 | *** | Lake Macquarie
| CAVES BEACH | 2281 |  | Lake Macquarie
| CHARLESTOWN | 2290 |  | Lake Macquarie
| COAL POINT | 2283 |  | Lake Macquarie
| COCKLE CREEK | 2284 |  | Lake Macquarie
| COORANBONG | 2265 |  | Lake Macquarie
| CROUDACE BAY | 2280 |  | Lake Macquarie
| DORA CREEK | 2264 |  | Lake Macquarie
| DUDLEY | 2290 |  | Lake Macquarie
| EDGEWORTH | 2285 |  | Lake Macquarie
| ELEEBANA | 2282 |  | Lake Macquarie
| ERARING | 2264 |  | Lake Macquarie
| ESTELVILLE | 2286 |  | Lake Macquarie
| FAIRLEY | 2286 |  | Lake Macquarie
| FASSIFERN | 2283 |  | Lake Macquarie
| FENNELL BAY | 2283 |  | Lake Macquarie
| FISHING POINT | 2283 |  | Lake Macquarie
| FLORAVILLE | 2280 |  | Lake Macquarie
| FREEMANS WATERHOLE | 2323 |  | Lake Macquarie
| GARDEN CITY | 2289 |  | Lake Macquarie
| GARDEN SUBURB | 2289 |  | Lake Macquarie
| GATESHEAD | 2290 |  | Lake Macquarie
| GATESHEAD WEST | 2290 |  | Lake Macquarie
| GLENDALE | 2285 |  | Lake Macquarie
| HIGHFIELDS | 2289 | *** | Lake Macquarie
| HILLSBOROUGH | 2290 |  | Lake Macquarie
| HOLMESVILLE | 2286 |  | Lake Macquarie
| JEWELLS | 2280 |  | Lake Macquarie
| JEWELLS CROSSING | 2280 |  | Lake Macquarie
| KAHIBAH | 2290 |  | Lake Macquarie
| KENDALL GRANGE | 2264 |  | Lake Macquarie
| KILABEN BAY | 2283 |  | Lake Macquarie
| KILLINGWORTH | 2278 |  | Lake Macquarie
| KOTARA HEIGHTS | 2289 | *** | Lake Macquarie
| KOTARA SOUTH | 2289 | *** | Lake Macquarie
| LAKE MACQUARIE | 2284 |  | Lake Macquarie
| LAKE VIEW | 2267 |  | Lake Macquarie
| LAKELANDS | 2282 |  | Lake Macquarie
| LITTLE PELICAN | 2281 |  | Lake Macquarie
| MACQUARIE HILLS | 2285 |  | Lake Macquarie
| MANDALONG | 2264 |  | Lake Macquarie
| MARKS POINT | 2280 |  | Lake Macquarie
| MARMONG POINT | 2284 |  | Lake Macquarie
| MARTINSVILLE | 2265 |  | Lake Macquarie
| MIDDLE CAMP | 2281 |  | Lake Macquarie
| MIRRABOOKA | 2264 |  | Lake Macquarie
| MORISSET | 2264 |  | Lake Macquarie
| MORISSET PARK | 2264 |  | Lake Macquarie
| MOUNT HUTTON | 2290 |  | Lake Macquarie
| MYUNA BAY | 2264 |  | Lake Macquarie
| NEW LAMBTON HEIGHTS | 2305 | *** | Lake Macquarie
| NORDS WHARF | 2281 |  | Lake Macquarie
| ODONNELL TOWN | 2286 |  | Lake Macquarie
| PELICAN | 2281 |  | Lake Macquarie
| PELICAN FLAT | 2281 |  | Lake Macquarie
| PELICAN FLATS | 2281 |  | Lake Macquarie
| RANKIN PARK | 2287 | *** | Lake Macquarie
| RATHMINES | 2283 |  | Lake Macquarie
| REDHEAD | 2290 |  | Lake Macquarie
| RYHOPE | 2283 |  | Lake Macquarie
| SEAHAMPTON | 2286 |  | Lake Macquarie
| SILVERWATER | 2264 |  | Lake Macquarie
| SKYE POINT | 2283 |  | Lake Macquarie
| SPEERS POINT | 2284 |  | Lake Macquarie
| STINGAREE POINT | 2264 |  | Lake Macquarie
| SUNSHINE | 2264 |  | Lake Macquarie
| SWANSEA | 2281 |  | Lake Macquarie
| SWANSEA HEADS | 2281 |  | Lake Macquarie
| TERALBA | 2284 |  | Lake Macquarie
| TINGIRA HEIGHTS | 2290 |  | Lake Macquarie
| TORONTO | 2283 |  | Lake Macquarie
| TORONTO WEST | 2283 |  | Lake Macquarie
| VALENTINE | 2280 |  | Lake Macquarie
| VIOLET TOWN | 2290 |  | Lake Macquarie
| WAKEFIELD | 2278 |  | Lake Macquarie
| WANGI | 2267 |  | Lake Macquarie
| WANGI POINT | 2267 |  | Lake Macquarie
| WANGI WANGI | 2267 |  | Lake Macquarie
| WARNERS BAY | 2282 |  | Lake Macquarie
| WEST WALLSEND | 2286 |  | Lake Macquarie
| WHITEBRIDGE | 2290 |  | Lake Macquarie
| WINDALE | 2306 |  | Lake Macquarie
| WINDERMERE PARK | 2264 |  | Lake Macquarie
| WOODRISING | 2284 |  | Lake Macquarie
| WYEE | 2259 | *** | Lake Macquarie
| WYEE POINT | 2259 |  | Lake Macquarie
| YARRAWONGA PARK | 2264 |  | Lake Macquarie
| ADAMSTOWN | 2289 |  | Newcastle
| ADAMSTOWN HEIGHTS | 2289 | *** | Newcastle
| ASH ISLAND | 2322 |  | Newcastle
| BAR BEACH | 2300 |  | Newcastle
| BERESFIELD | 2322 |  | Newcastle
| BIRMINGHAM GARDENS | 2287 |  | Newcastle
| BLACK HILL | 2322 | *** | Newcastle
| BROADMEADOW | 2292 |  | Newcastle
| CALLAGHAN | 2308 |  | Newcastle
| CARRINGTON | 2294 |  | Newcastle
| CIVIC STATION | 2300 |  | Newcastle
| COOKS HILL | 2300 |  | Newcastle
| ELERMORE VALE | 2287 |  | Newcastle
| ELLERMORE VALE | 2287 |  | Newcastle
| FLETCHER | 2287 |  | Newcastle
| FORT WALLACE | 2295 |  | Newcastle
| GEORGETOWN | 2298 |  | Newcastle
| HAMILTON | 2303 |  | Newcastle
| HAMILTON EAST | 2303 |  | Newcastle
| HAMILTON NORTH | 2292 |  | Newcastle
| HAMILTON SOUTH | 2303 |  | Newcastle
| HEXHAM | 2322 |  | Newcastle
| HIGHFIELDS | 2289 | *** | Newcastle
| ISLINGTON | 2296 |  | Newcastle
| JESMOND | 2299 |  | Newcastle
| KOORAGANG | 2304 |  | Newcastle
| KOORAGANG ISLAND | 2304 |  | Newcastle
| KOTARA | 2289 |  | Newcastle
| KOTARA EAST | 2305 |  | Newcastle
| KOTARA FAIR | 2289 |  | Newcastle
| KOTARA HEIGHTS | 2289 | *** | Newcastle
| KOTARA SOUTH | 2289 | *** | Newcastle
| LAMBTON | 2299 |  | Newcastle
| LAMBTON EAST | 2299 |  | Newcastle
| LAMBTON NORTH | 2299 |  | Newcastle
| LENAGHAN | 2322 |  | Newcastle
| MARYLAND | 2287 |  | Newcastle
| MARYVILLE | 2293 |  | Newcastle
| MAYFIELD | 2304 |  | Newcastle
| MAYFIELD EAST | 2304 |  | Newcastle
| MAYFIELD NORTH | 2304 |  | Newcastle
| MAYFIELD WEST | 2304 |  | Newcastle
| MEREWETHER | 2291 |  | Newcastle
| MEREWETHER HEIGHTS | 2291 |  | Newcastle
| MINMI | 2287 |  | Newcastle
| NEW LAMBTON | 2305 |  | Newcastle
| NEW LAMBTON HEIGHTS | 2305 | *** | Newcastle
| NEWCASTLE | 2300 |  | Newcastle
| NEWCASTLE EAST | 2300 |  | Newcastle
| NEWCASTLE HILL | 2300 |  | Newcastle
| NEWCASTLE UNIVERSITY | 2308 |  | Newcastle
| NEWCASTLE WEST | 2302 |  | Newcastle
| PLATTSBURG | 2287 |  | Newcastle
| PORT WARATAH | 2300 |  | Newcastle
| RANKIN PARK | 2287 | *** | Newcastle
| SANDGATE | 2304 |  | Newcastle
| SHORTLAND | 2307 |  | Newcastle
| STOCKTON | 2295 |  | Newcastle
| TARRO | 2322 |  | Newcastle
| THE GLEBE | 2291 |  | Newcastle
| THE HILL | 2300 |  | Newcastle
| THE JUNCTION | 2291 |  | Newcastle
| TIGHES HILL | 2297 |  | Newcastle
| WALLSEND | 2287 |  | Newcastle
| WALLSEND SOUTH | 2287 |  | Newcastle
| WARABROOK | 2304 |  | Newcastle
| WARATAH | 2298 |  | Newcastle
| WARATAH WEST | 2298 |  | Newcastle
| WAYABA | 2322 |  | Newcastle
| WICKHAM | 2293 |  | Newcastle
| WICKHAM NORTH | 2293 |  | Newcastle
| Melbourne | 3000 |  | Melbourne

## Project assumptions
Energy Efficiency and Renewables Finance Guide: Refrigeration case study
Project assumptions
Case study descriptions
| Technology | Description
| HVAC | Company ABC Limited wants to replace their existing HVAC system with a new one. They are considering two options: a standard rooftop packaged system, or a more expensive, more energy efficient system. The more efficient system includes features such as: • Scroll compressors • Three compressor stages • Two speed condenser fans • Economy cycle • Supply air fan Variable Speed Drive (VSD) • Demand controlled ventilation (utilising return air CO2 sensors) Systems of a similar capacity (47kW) are assessed by the company.
| Refrigeration | A mushroom supplier is seeking to replace its old refrigeration compressor equipped chillers. It is considering two options: two 900 kW screw compressor equipped chillers or two 900 kW high-efficiency compressor equipped chillers. The high-efficiency compressor equipped chillers are over 50% more expensive that the less efficient options, but typically use 40% less power for the same cooling output and have operating costs of 50% less than the less efficient option. The units are half the size and one fifth the weight of the same capacity reciprocating compressor, are extremely quiet and use ozone and greenhouse gas friendly refrigerants. The compressors have in-built soft starters and variable speed drives (VSDs), which means the compressor operates to match the load.
| Lighting upgrades | Office tenant CMR runs a whole floor tenancy in a relatively modern office building. Their current lighting installation comprises of 190 fairly standard dual 36W T8 fluorescent tube fittings, with older style magnetic type control gear (i.e. ballasts). These fittings each consume approximately 88W, of which 72W is consumed by the lamps and an additional 16W is consumed by the ballasts. These lamps are coming to their end of their lifespan, and can be replaced with similar T8 fluorescent technology combined with upgrading the ballasts to more efficient electronic versions. A more energy efficient option would be to replace the fittings with 210 single tube 28W T5 light and fittings. This would replace both the tube and the ballast of the older fittings. A few addition fittings were required where light output was not adequate. The T5 tubes also have a slightly improved lifespan when compared to the standard T8 fluorescent tubes.
| Compressed air | A processing plant is looking at replacing their existing air compressor with a new unit. The compressor runs 8,400 hrs/yr at an average load of 50%. They have the option of purchasing a standard screw compressor (55kW) with load/unload type of control or an energy efficient VSD compressor (55kW) with the following characteristics: • Equipped with premium efficiency motor • Speed control capability • Integrated high efficiency dryer • Heavy-duty air intake filter The energy efficient compressor is more expensive, but has lower running cost due to the higher efficiency of its components and the energy savings achieved through speed reduction when the compressor runs at low loads.
| Chillers | Company JOYCO needs to replace their existing chiller in their office building with a new one, due to the age of the system and increasing maintenance costs to keep it operational. They are considering two options: complete the required maintenance works to keep their current chiller operational for another 10 years, or install a brand new chiller in the building. The current chiller is an older reciprocating compressor model that does not operate efficiently under part load conditions such as after hours air-conditioning or supplementary air-conditioning loads. The newer chiller uses more modern technology including a two stage oil free centrifugal compressor, magnetic levitation bearings and integrated variable speed drive controls to assist at part load operation.
| Voltage optimisation | Company XYZ runs a manufacturing facility that uses a wide variety of equipment including a large amount of electric motors. The company is considering voltage optimisation to generate energy savings at this site. This involves installing a piece of equipment at the main electrical supply to the site to improve the electrical characteristics including: • Reduce the supplied voltage from the typical level around 242V to the more common input required by most equipment of 220V • Reduce phase imbalances in three phases electrical supplies, improving the efficiency of AC motors significantly
| Motor | A textile manufacturing company is developing a new production line. It needs to install motors with a combined capacity of 2,750kW. The motors will run approximately 8,000hrs/yr with an average load of 75%. There are 2 options for replacement: 1. Replace with standard efficiency motors, that have an aggregate efficiency of 89.5% at 75% load, or 2. Replace with more expensive premium efficiency motors with an aggregate efficiency of 92.2% at 75% load.
| Motor with VSD | A series of water pumps run approximately 8,000 hrs/yr and are driven by ten 11kW high efficiency motors which are due for replacement. The motors run at full speed and pump flow is controlled via a throttling valve. The owner has the option of like-for-like replacements or purchasing high efficiency motors together with VSDsto control flow and achieve energy savings when speed is reduced. A flow schedule analysis indicates that the VSD pumps would run at: • 100% speed, 20% of the time (1,600 hrs p.a.) • 75% speed, 50% of the time (4,000 hrs p.a.) • 50% speed, 30% of the time (2,400 hrs p.a.).
| Building Management System | A property company owns and operates a mixed use building that includes office space and retail space. This building is served by a central air-conditioning system that is controlled by an out-dated building management system (BMS). This system is over 10 years old, no longer supported by the vendor, and does not provide a sufficient level of control to manage and optimise control strategies. Replacing this system with a 'like for like' package will solve the redundancy issues, however installation and commissioning of a newer, smarter system including additional monitoring and control points can provide significant savings through: • Using fresh air to provide cooling when conditions are correct • Monitoring the amount of fresh air required, particularly during winter • Speeding up or slowing down pumps and fans as required • Providing automated alarms when control parameters move outside set limits, allowing contractors to fix problems quickly
Project assumptions
|  | Technology | HVAC | Refrigeration | Lighting upgrades | Compressed air | Chillers | Voltage optimisation | Motor | Motor with VSD | Building Management System
| Standard equipment | Cost to install ($) | 27000 | 233300 | 7600 | 27000 | 250000 | 0 | 275000 | 13000 | 100000
|  | Operation and maintenance cost ($ p.a.) | 800 | 16378.272 | 988 | 6300 | 30000 | 0 | 0 | 0 | 5000
|  | Electricity use (kWh p.a.) | 192000 | 767000 | 41800 | 333666.6667 | 825000 | 1700000 | 18435754.1899 | 715835.141 | 900000
|  | Equipment life (yrs) | 15 | 15 | 6.4 | 15 | 10 | N/A | 15 | 15 | 10
| Efficient equipment | Cost to install ($) | 33000 | 365500 | 25200 | 50000 | 350000 | 40000 | 325000 | 70000 | 200000
|  | Operation and maintenance cost ($ p.a.) | 1500 | 8189.136 | 546 | 4800 | 20000 | 1000 | 0 | 0 | 5000
|  | Electricity use (kWh p.a.) | 131300 | 460000 | 14700 | 256666.6667 | 495000 | 1500000 | 17895878.5249 | 436744.6545 | 810000
|  | Equipment life (yrs) | 15 | 15 | 8 | 15 | 25 | 50 | 15 | 15 | 15