## Readme
Title: | Air quality monitoring sites summary (New South Wales)
Owner: | New South Wales Department of Planning and Environment
Last updated: | 2025-10-10
Release date: | 2025-10-13
Worksheet | Notes
Parameter and Instrument List | Overview of current instrumentation used for air quality monitoring of air pollutants and meteorological parameters
Monitoring stations list | Indicates the air quality monitoring (AQM) region and the sub-region that each station belongs to. Where monitoring site is for a special purpose only, the monitoring purpose is indicated instead of a region name (e.g. research monitoring/ incident/ roadside monitoring). Includes also, site location (latitude and longitude) as well as current monitored pollutants and meteorological parameters. Current sites, as well as historic and future sites, are included on this list. Note that for each parameter the monitoring list represents current monitoring at that station, and that monitoring for all parameters may not have occurred during its entire lifetime.
Siting compliance and NEPM status | Including only current and future stations, this list summarises station compliance with AS/NZS 3580.1.1 siting requirements, and indicates reason for non-compliance where relevant. Also indicated is whether the station is reported against NEPM compliance standards, and the NEPM region the station belongs to. Note that NEPM regions are based broadly on Australian Bureau of Statistics (ABS) significant urban areas (SUA) as of 2016 Census. Note also that rural network sites (formerly Dustwatch) are not used for NEPM reporting, due to the indicative type of particle instruments used at these sites.

## Parameter & Instrument List
Parameter name | Abbreviation | Pollutant units | Current Instruments | Previously used Instruments | Monitoring in Accordance with Australian Standard Method?
Carbon monoxide | CO | parts per million (ppm) | API T300 | Thermo 48 | Yes
Nephelometer (visibility) | NEPH | 104 m-1 (or 100 inverse megametres) | Ecotech Aurora 1000 or 3000 |  | Yes
Ammonia | NH3 | parts per hundred million (pphm) | Serinus 44 | Thermo 17i | NA
Oxides of Nitrogen | NO/NO2/NOx | parts per hundred million (pphm) | API T200 or API T204; Serinus 44 | Thermo 42 | Yes
Ozone | O3 | parts per hundred million (pphm) | API T400 or API T204; Ecotech 9810 | Thermo 49 | Yes
Particles less than 10 micrometres in diameter | PM10 (compliance) | micrograms per cubic metre (µg/m3) | Thermo Tapered Element Oscillating Micro-balance (TEOM) 1405A | Thermo 1400AB | Yes
Particles less than 2.5 and 10 micrometres in diameter | PM2.5/PM10 (compliance) | micrograms per cubic metre (µg/m3) | Thermo 1405-DF TEOM (Dichotomous, Filter Dynamic Measurement System, Tapered Element Oscillating Micro-balance) |  | Yes
Particles less than 2.5 micrometres in diameter | PM2.5 (compliance equivalent) | micrograms per cubic metre (µg/m3) | Thermo Beta Attenuation Method (BAM) 5014i | Thermo SHARP5030 BAM | Yes
Particles less than 2.5 micrometres in diameter | PM2.5 (compliance reference) | micrograms per cubic metre (µg/m3) | * Collected onto filter for mass measurement over 24 hours |  | Yes
Rainfall | PRECIPITATION | millimetre (mm) | Rain Gauge – RIMCO 7499, 8020 |  | Yes
Sulfur dioxide | SO2 | parts per hundred million (pphm) | API T100 | Thermo 43 | Yes
Solar radiation | SOLAR | watts per square metre (W/m2) | Middleton pyranometer |  | Yes
Temperature | TEMP | degrees celsius (°C) | Vaisala HMP155 |  | Yes
Relative Humidity | RH | percent (%) | Vaisala HMP155 |  | Yes
Particles less than 2.5 and 10 micrometres in diameter (indicative) | Particles (indicative) | micrograms per cubic metre (µg/m3) | TSI Multi-channel DRX DustTrak Aerosol Moniter (8533) (Rural Network sites only) | TSI Single-channel Dusttrak (8520) or handheld equivalent (8532) from 2005-2021 (rural sites upgraded to DRX model between 2019-2021) | No
Multiple (wind speed, direction, gust; temperature; humidity; pressure; rain) | Weather (indicative) | various - see individual parameters | Vaisala WTX530 with Rain Bucket |  | No
Wind speed | WSP | metres per second (m/s) | Met-One 50.5, Theis Clima model Ultrasonic Anemometer 2D 4.382x.0 |  | Yes
Wind direction | WDR | degrees (°) | Met-One 50.5, Theis Clima model Ultrasonic Anemometer 2D 4.382x.0 |  | Yes
Sigma theta | SD1 | degrees (°) | Met-One 50.5, Theis Clima model Ultrasonic Anemometer 2D 4.382x.0 |  | Yes
Wind gust | WGU | metres per second (m/s) | Theis Clima model Ultrasonic Anemometer 2D 4.382x.0 |  | NA
Black Carbon | BC | micrograms per cubic metre (µg/m3) (scaled equivalent to µg/m3 black carbon in PM2.5) | Magee Scientific Aethalometer AE33 |  | NA
Ceilometer - ceiling height | CEIL | Multiple | Vaisala Ceilometer CL51 |  | NA

## Monitoring stations list
NSW air quality monitoring (AQMN) site | AQMN region | Station purpose | Site address | Latitude (South) | Longitude (East) | Altitude (ahd) | Commissioned | Status | Decommissioned | Timezone of site location | Timezone observations reported in | Station Movement, if any (m) | PM10 (NEPM compliant) | PM2.5 (NEPM compliant) | PM2.5 (US EPA Federal Reference Method) | TSP (NEPM compliant) | TSP (indicative) | PM10 and PM2.5 (indicative) | NEPH | Black carbon | NO/NO2/NOx | SO2 | O3 | CO | NH3 | WSP/WD/SD1 | WGU | TEMP/RH | SOLAR | PRECIPITATION | Weather (indicative) | CEIL | Web link to station meta data page
Aberdeen | Upper Hunter | Standard - NEPM compliance | Abercairney Terrace, Aberdeen (NSW 2336) | -32.1772 | 150.8842 | 177 | 2011 | Active | Active | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | [12 empty] | ü | ü | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/upper-hunter/aberdeen
Albion Park | Illawarra | Standard - NEPM compliance | Croom Rd (NSW 2527) | -34.5796 | 150.79 | 5 | 1997 | Decommissioned | 2005 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | [5 empty] | ü |  | ü | ü | ü | [9 empty] | Not available
Albion Park Rail | Illawarra | Standard - NEPM compliance | Aerodrome (NSW 2527) | -34.557 | 150.7895 | 5 | 1978 | Decommissioned | 1997 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [7 empty] | ü |  | ü | ü | ü |  |  | ü |  | ü |  |  |  |  | Not available
Albion Park South | Illawarra | Standard - NEPM compliance | Terry Reserve(NSW 2527) | -34.5778 | 150.7825 | 13 | 2005 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü |  |  | ü |  | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/illawarra/albion-park-south
Albury | Riverina-Murray | Standard - NEPM compliance | Jelbart Park (NSW 2640) | -36.0518 | 146.9399 | 182 | 2000 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü | [8 empty] | ü |  |  | ü |  | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/riverina-murray/albury
Alexandria | East Sydney | Standard - NEPM compliance | Mandible St, Alexandria (NSW 2015) | -33.9053 | 151.1973 | 10 | 2021 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü | ü |  | ü |  | ü |  |  |  |  | https://www.airquality.nsw.gov.au/east-sydney/alexandria
Armidale | Northern Tablelands | Standard - NEPM compliance | Harris Park Football Field, Kirkwood Street (NSW 2350) | -30.5085 | 151.6617 | 982 | 2018 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü | ü | [5 empty] | ü | ü | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/northern-tablelands/armidale
Armidale | Northern Tablelands | Indicative | Kirkwood Street (NSW 2350) | -30.5084 | 151.6617 | 982 | 2018 | Decommissioned | 2019 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [14 empty] | Not available
Bargo | South West Sydney | Standard - NEPM compliance | Silica Rd (NSW 2574) | -34.3062 | 150.5806 | 365 | 1996 | Decommissioned | 2025 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü |  |  | ü |  | ü |  | ü |  |  | Not available
Batemans Bay | South Coast | Bushfire Emergency - incident monitoring | Catalina Country Club, Beach Road (NSW 25360 | -35.7234 | 150.1872 | 83 | 2019 | Decommissioned | 2020 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [14 empty] | Not available
Bathurst | Central Tablelands | Standard - NEPM compliance | Sewage Treatment Plant (NSW 2795) | -33.4018 | 149.5746 | 625 | 2000 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü | [8 empty] | ü |  |  | ü |  | ü |  |  |  |  | https://www.airquality.nsw.gov.au/central-tablelands/bathurst
Beresfield | Lower Hunter | Standard - NEPM compliance | Francis Greenway High School (NSW 2322) | -32.7968 | 151.661 | 14 | 1993 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü |  |  | ü |  | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/lower-hunter/beresfield
Blacktown | North West Sydney | Standard - NEPM compliance | Flushcombe Rd (NSW 2148) | -33.7799 | 150.9058 | 75 | 1992 | Decommissioned | 2004 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | [5 empty] | ü |  | ü | ü | ü | ü |  | ü |  | ü | ü |  |  |  | Not available
Bourke | Far West | Indicative | Bourke airport (NSW 2840) | -30.0362 | 145.952 | 109.7 | 2007 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [14 empty] | https://www.airquality.nsw.gov.au/far-west/bourke
Bowral | Southern Tablelands | Emergency Monitoring | Corner of Alcorn St & Railway Parade Bowral (NSW 2576) | -34.4878 | 150.4101 |  | 2021 | Decommissioned | 2022 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü | ü |  | ü |  | ü |  |  |  |  | Not available
Bradfield Highway | East Sydney | Roadside - NEPM compliance | Between Bradfield Highway and Cahill Expressway (NSW 2000) | -33.8433 | 151.2111 | 36 | 2018 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü | [5 empty] | ü | ü | ü | ü | ü |  |  |  | ü |  |  |  |  | https://www.airquality.nsw.gov.au/east-sydney/bradfield-highway
Bringelly | South West Sydney | Standard - NEPM compliance | Ramsay Rd (NSW 2556) | -33.9177 | 150.7619 | 53 | 1992 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü |  |  | ü | ü | ü | ü |  |  |  | https://www.airquality.nsw.gov.au/south-west-sydney/bringelly
Broken Hill | Far West | Indicative | BoM airport (NSW 2880) | -32.0012 | 141.469 | 284.5 | 2008 | Active | NA | Australian Central Standard Time (ACST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/far-west/broken-hill
Bulga | Upper Hunter | Standard - industry monitoring | 1893 Putty Rd (NSW 2650) | -32.6486 | 151.036 | 67 | 2011 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | [12 empty] | ü | ü | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/upper-hunter/bulga
Buronga | Far West | Indicative | DPI research centre (NSW 2739) | -34.1747 | 142.201 | 50.7 | 2003 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [14 empty] | https://www.airquality.nsw.gov.au/far-west/buronga
Camberwell | Upper Hunter | Standard - industry monitoring | Dulwich Place and McInerneys Rd (NSW 2330) | -32.4723 | 151.0919 | 82 | 2011 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü | [11 empty] | ü | ü | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/upper-hunter/camberwell
Camden | South West Sydney | Standard - NEPM compliance | Camden Airport (NSW 2570) | -34.0417 | 150.6901 | 73 | 2012 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü |  | ü | ü |  | ü | ü | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/south-west-sydney/camden
Cammeray | East Sydney | Research Monitoring | Cnr Earnest & Park Ave (NSW 2062) | -33.8273 | 151.2167 | 88 | 2022 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü | ü |  | ü | ü | ü |  |  |  |  | https://www.airquality.nsw.gov.au/east-sydney/cammeray
Campbelltown | South West Sydney | Standard - NEPM compliance | Cronulla Crescent (NSW 2560) | -34.0561 | 150.8122 | 84 | 1976 | Decommissioned | 2004 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | [7 empty] | ü |  | ü | ü |  | ü | [6 empty] | Not available
Campbelltown West | South West Sydney | Standard - NEPM compliance | Campbelltown TAFE (NSW 2560) | -34.0667 | 150.7956 | 112 | 2012 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü | ü |  | ü |  | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/south-west-sydney/campbelltown-west
Carrington | Lower Hunter | Standard - industry monitoring | Hargrave St & Garrett St (NSW 2294) | -32.9096 | 151.7634 | 5 | 2014 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü | [6 empty] | ü | ü |  |  |  | ü | ü | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/lower-hunter/carrington
Cataract RFS (2019-20) | Illawarra | Research Monitoring | Cataract Scout Park (NSW 2560) | -34.2448 | 150.8235 | 56 | 2019 | Decommissioned | 2020 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü | ü |  | ü |  | ü |  |  |  |  | Not available
Chullora | Central West Sydney | Standard - NEPM compliance | Southern Sydney TAFE - Worth St (2190) | -33.8916 | 151.0461 | 32 | 2003 | Decommissioned | 2022 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü | ü |  |  |  | ü |  | ü | ü | ü | ü |  | ü |  | ü | ü |  |  |  | Not available
Cobar | Far West | Indicative | BoM site (NSW 2835) | -31.4837 | 145.829 | 260.4 | 2007 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/far-west/cobar
Coffs Harbour | Mid North Coast | Bushfire Emergency - incident monitoring | City Centre, Park off Duke St near Carralls Gully (NSW 2450) | -30.2983 | 153.1181 | 21 | 2019 | Transitioned to long-term site | 2020 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü |  | ü | ü |  | ü |  | ü |  |  |  |  | Not available
Coffs Harbour | Mid North Coast | Bushfire Emergency - incident monitoring | City Centre, Park off Duke St near Carralls Gully (NSW 2450) | -30.2983 | 153.1181 | 21 | 2019 | Decommissioned | 2020 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [14 empty] | Not available
Coffs Harbour | Mid North Coast | Standard - NEPM compliance | City Centre, Park off Duke St near Carralls Gully (NSW 2450) | -30.2983 | 153.1181 | 21 | 2020 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü |  | ü | ü |  | ü |  | ü |  |  |  |  | https://www.airquality.nsw.gov.au/mid-north-coast/coffs-harbour
Condobolin | Central West NSW | Indicative | DPI research centre (NSW 2877) | -33.0665 | 147.2283 | 193 | 2004 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/central-west-nsw/condobolin
Cook and Phillip | East Sydney | Standard - NEPM compliance | Cook and Phillip Park, Sydney CBD (NSW 2000) | -33.8729 | 151.2132 | 26 | 2019 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü | ü |  |  |  | ü |  |  |  |  | https://www.airquality.nsw.gov.au/east-sydney/cook-and-phillip
Cooma | Southern Tablelands | Bushfire Emergency - incident monitoring | Snowy Hydro Discover Centre carpark, Monaro Highway (NSW 2630) | -36.2226 | 149.1331 | 925 | 2020 | Transitioned to long-term site | 2020 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [14 empty] | Not available
Cooma | Southern Tablelands | Indicative | Snowy Hydro Discover Centre carpark, Monaro Highway (NSW 2630) | -36.2226 | 149.1331 | 831 | 2020 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [14 empty] | https://www.airquality.nsw.gov.au/southern-tablelands/cooma
Coombah | Far West | Indicative | Silver City Highway (Nsw 2648) | -32.9762 | 141.6183 | 193 | 2004 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/far-west/coombah
Cowra | Central Tablelands | Indicative | Cowra airport (NSW 2974) | -33.8382 | 148.6541 | 296 | 2007 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/central-tablelands/cowra
Deniliquin | Riverina-Murray | Indicative | Deniliquin airport (NSW 2710) | -35.5575 | 144.946 | 97.9 | 2007 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/riverina-murray/deniliquin
Dubbo | Central West NSW | Indicative | Dubbo regional airport (NSW 2830) | -32.2195 | 148.578 | 281.6 | 2007 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [14 empty] | https://www.airquality.nsw.gov.au/central-west-nsw/dubbo
Earlwood | East Sydney | Standard - NEPM compliance | Beaman Park (NSW 2206) | -33.9162 | 151.1358 | 7 | 1978 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü |  | ü |  |  | ü |  | ü |  |  |  |  | https://www.airquality.nsw.gov.au/east-sydney/earlwood
Errowanbang2 | Central Tablelands | Incident monitoring | Burnt Yards Road, Errowanbang, NSW | -33.552 | 149.0521 | 703 | 2023 | Decommissioned | 2025 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | Not available
Euston | Far West | Indicative | Private property (NSW 2737) | -34.443 | 142.889 | 281.6 | 2005 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/far-west/euston
Forest Reefs2 | Central Tablelands | Incident monitoring | Carbine Road, Forest Reefs, NSW | -33.4675 | 149.0651 | 926 | 2023 | Decommissioned | 2025 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | Not available
Goulburn | Southern Tablelands | Standard - NEPM compliance | Leggett Park Goulburn (NSW 2580) | -34.7345 | 149.7242 | 702 | 2019 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü |  | ü |  |  | ü | ü | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/southern-tablelands/goulburn
Grafton | Northern Rivers | Bushfire Emergency - incident monitoring | Grafton Primary Industries Institute (NSW 2460) | -29.6207 | 152.9633 | 35 | 2019 | Transitioned to long-term site | 2020 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [14 empty] | Not available
Grafton | Northern Rivers | Indicative | Grafton Primary Industries Institute (NSW 2460) | -29.6224 | 152.9606 | 35 | 2020 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | In April 2020, moved from -29.620691, 152.96331 to its currrent location | [5 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/northern-rivers/grafton
Griffith | Riverina-Murray | Indicative | Griffith regional airport (NSW 2680) | -34.2489 | 146.0698 | 131.5 | 2012 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [14 empty] | https://www.airquality.nsw.gov.au/riverina-murray/griffith
Gunnedah | North West Slopes | Standard - NEPM compliance | Kitchener Park - Osric St (NSW 2380) | -30.9818 | 150.2607 | 274 | 2017 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü | [6 empty] | ü |  | ü |  |  | ü | ü | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/north-west-slopes/gunnedah
Gunnedah2 | North West Slopes | Indicative | Kitchener Park - Osric St (NSW 2380) | -30.9819 | 150.2607 | 274 | 2019 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/north-west-slopes/gunnedah-2
Gunnedah South East | North West Slopes | Indicative | DPIE research centre (NSW 2380) | -31.0261 | 150.269 | 309.2 | 2003 | Decommissioned | 2019 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [14 empty] | Not available
Hay | Riverina-Murray | Indicative | Hay airport (NSW 2711) | -34.5413 | 144.8345 | 89.2 | 2004 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/riverina-murray/hay
Hillston | Riverina-Murray | Indicative | Hillston aerodrome airport (NSW 2675) | -33.4916 | 145.5248 | 120.7 | 2007 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [14 empty] | https://www.airquality.nsw.gov.au/riverina-murray/hillston
Ivanhoe | Far West | Indicative | Private property (NSW 2878) | -33.0548 | 144.154 | 83.6 | 2004 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [14 empty] | https://www.airquality.nsw.gov.au/far-west/ivanhoe
Jerrys Plains | Upper Hunter | Standard - industry monitoring | Coolmore Stud, Jerrys Plains Rd (NSW 2330) | -32.4662 | 150.8642 | 87 | 2011 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | [12 empty] | ü | ü | ü |  |  |  |  | https://www.airquality.nsw.gov.au/upper-hunter/jerrys-plains
Junee | Riverina-Murray | Indicative | Private property (NSW 2652) | -34.8254 | 147.51 | 278.7 | 2012 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/riverina-murray/junee
Katoomba | Central Tablelands | Research Monitoring | Valley Rd (NSW 2780) | -33.7103 | 150.2996 | 1045.9 | 2019 | Decommissioned | 2020 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü | ü |  | ü |  | ü |  |  |  |  | Not available
Kembla Grange | Illawarra | Standard - NEPM compliance | Kembla Grange Racecourse (NSW 2526) | -34.4741 | 150.8191 | 5 | 1994 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü |  | ü |  |  | ü |  | ü | ü | ü |  |  | https://www.airquality.nsw.gov.au/illawarra/kembla-grange
Kurrajong Heights | North West Sydney | Research Monitoring | Bells Line of Road (NSW 2758) | -33.5211 | 150.6284 | 350 | 2000 | Decommissioned | 2003 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [9 empty] | ü | ü | ü |  |  | ü |  | ü |  |  |  |  | Not available
Kurri Kurri | Lower Hunter | Emergency Monitoring | Deakin Street, Kurri Kurri (NSW 2327) | -32.8106 | 151.4862 |  | 2021 | Decommissioned | 2021 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü | ü |  | ü |  | ü |  |  |  |  | Not available
Kyalite | Riverina-Murray | Indicative | Stony Crossing Road (NSW 2715) | -35.033 | 143.5309 | 278.7 | 2007 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/riverina-murray/kyalite
Lake Victoria | Far West | Indicative | Private property (NSW 2752) | -34.0485 | 141.063 | 54.9 | 2004 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/far-west/lake-victoria
Lameroo | Far West | Indicative | BoM site (SA 5302) | -35.3778 | 140.538 | 112 | 2011 | Active | NA | Australian Central Standard Time (ACST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/far-west/lameroo
Lidcombe | East Sydney | Standard - NEPM compliance | East Street, Lidcombe (NSW 2141) | -33.8814 | 151.0468 | 39 | 2019 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü | ü |  |  |  | ü | ü | ü | ü | ü | ü |  | ü | ü | ü | ü | ü |  | ü | https://www.airquality.nsw.gov.au/central-west-sydney/lidcombe
Lidcombe (former) | East Sydney | Standard - NEPM compliance | EPA Laboratories (NSW 2141) | -33.8842 | 151.0433 | 5 | 1974 | Decommissioned | 2002 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü |  | ü |  |  | ü |  | ü |  |  |  |  | Not available
Lindfield | East Sydney | Standard - NEPM compliance | Bradfield Rd (NSW 2070) | -33.7811 | 151.1509 | 60 | 1994 | Decommissioned | 2019 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | [5 empty] | ü |  | ü | ü | ü |  |  | ü |  | ü |  |  |  |  | Not available
Lismore | Northern Rivers | Bushfire Emergency - incident monitoring | Wilson Park School, Wyrallah Road (NSW 2480) | -28.8321 | 153.2935 | 12 | 2019 | Transitioned to long-term site | 2020 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü | [18 empty] | Not available
Lismore | Northern Rivers | Indicative | Northern Rivers Aero Club (NSW 2480) | -28.8362 | 153.2628 | 15 | 2020 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | Moved from -28.8243, 153.2568 on 15/6/21 to current location | [5 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/northern-rivers/lismore
Liverpool | South West Sydney | Standard - NEPM compliance | Rose St (NSW 2170) | -33.9313 | 150.9073 | 22 | 1991 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü | ü | ü | ü | ü | ü |  | ü |  | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/south-west-sydney/liverpool
Liverpool SWAQS | South West Sydney | Research Monitoring | Liverpool Girl High School, Forbes Street (NSW 2170) | -33.9189 | 150.9325 | 11.6 | 2019 | Decommissioned | 2020 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü | ü |  | ü |  | ü |  |  |  |  | Not available
Loddon Plains | Riverina-Murray | Indicative | AG research station (VIC 3517) | -36.4538 | 144.319 | 111.1 | 2011 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [14 empty] | https://www.airquality.nsw.gov.au/riverina-murray/loddon-plains
Macarthur | South West Sydney | Standard - NEPM compliance | UWS Campbelltown Campus (NSW 2560) | -34.0709 | 150.7822 | 104 | 2004 | Decommissioned | 2015 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | [5 empty] | ü |  | ü | ü | ü | ü |  | ü |  | ü |  |  |  |  | Not available
Macquarie Park | East Sydney | Standard - NEPM compliance | Macquarie University Sport Fields - Culloden Rd (NSW 2113) | -33.7652 | 151.1178 | 49 | 2017 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü | ü |  | ü | ü | ü | ü | ü |  |  | https://www.airquality.nsw.gov.au/east-sydney/macquarie-park
Maison Dieu | Upper Hunter | Standard - industry monitoring | Maison Dieu Rd (NSW 2330) | -32.5247 | 151.0618 | 65 | 2011 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | [12 empty] | ü | ü | ü |  |  |  |  | https://www.airquality.nsw.gov.au/upper-hunter/maison-dieu
Mayfield | Lower Hunter | Standard - industry monitoring | Murray Dwyer Circuit (NSW 2304) | -32.8849 | 151.7284 | 5 | 2014 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü | [6 empty] | ü | ü |  |  |  | ü |  | ü | ü |  |  |  | https://www.airquality.nsw.gov.au/lower-hunter/mayfield
North Memorial Oval | Far West | Research Monitoring | Memorial Oval, Broken Hill NSW 2880 | -31.9565 | 141.4509 | 334 | 2021 | Active | NA | Australian Central Standard Time (ACST) | Australian Central Standard Time (ACST) |  |  |  |  | ü | [16 empty] | Not available
Merimbula | South Coast | Bushfire Emergency - incident monitoring | Merimbula Airport (NSW 2548) | -36.9078 | 149.8989 | 6 | 2020 | Transitioned to long-term site | 2020 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [14 empty] | Not available
Merimbula | South Coast | Indicative | Merimbula Airport (NSW 2548) | -36.9078 | 149.8989 | 6 | 2020 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [14 empty] | https://www.airquality.nsw.gov.au/south-coast/merimbula
Merriwa | Upper Hunter | Standard - industry monitoring | Lot 3, Merriwa Scone Rd (NSW 2329) | -32.1266 | 150.4582 | 406 | 2012 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü | ü | ü | ü | ü | ü |  | ü | ü | ü | ü | ü |  | ü | https://www.airquality.nsw.gov.au/upper-hunter/merriwa
Millthorpe | Central Tablelands | Incident monitoring | 42 Park Street, Millthorpe NSW 2798 | -33.4443 | 149.1853 | 950 | 2023 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü | ü |  | ü | ü | ü |  |  |  |  | https://www.airquality.nsw.gov.au/central-tablelands/millthorpe
Moolawatana | Far West | Indicative | Private property (SA 5732) | -29.9072 | 139.737 | 93.9 | 2008 | Active | NA | Australian Central Standard Time (ACST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/far-west/moolawatana
Moree | North West Slopes | Indicative | BoM site (NSW 2400) | -29.4897 | 149.847 | 212.8 | 2008 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/north-west-slopes/moree
Morisset | Lake Macquarie | Standard - NEPM compliance | Fishery Point Road, Mirrabooka (NSW 2264) | -33.108 | 151.5526 | 51 | 2020 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü | ü | ü | ü | ü | ü |  | ü |  | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/lake-macquarie/morisset
Mount Thorley | Upper Hunter | Standard - industry monitoring | Broke Rd (NSW 2330) | -32.6359 | 151.128 | 74 | 2011 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | [12 empty] | ü | ü | ü |  |  |  |  | https://www.airquality.nsw.gov.au/upper-hunter/mount-thorley
Muswellbrook | Upper Hunter | Standard - NEPM compliance | Bowman Park (NSW 2333) | -32.2715 | 150.8856 | 145 | 2010 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü | [6 empty] | ü | ü |  |  |  | ü | ü | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/upper-hunter/muswellbrook
Muswellbrook NW | Upper Hunter | Standard - industry monitoring | Cnr Wybong Rd and Kayuga Rd (NSW 2333) | -32.2532 | 150.8812 | 143 | 2011 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | [12 empty] | ü | ü | ü |  |  |  |  | https://www.airquality.nsw.gov.au/upper-hunter/muswellbrook-nw
Narrabri | North West Slopes | Standard - NEPM compliance | Narrabri Airport - Airport Rd (NSW 2390) | -30.3184 | 149.8293 | 226 | 2017 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü | [11 empty] | ü | ü | ü |  |  |  |  | https://www.airquality.nsw.gov.au/north-west-slopes/narrabri
Narrandera | Riverina-Murray | Indicative | Narrandera airport (NSW 2700) | -34.705 | 146.514 | 145 | 2012 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/riverina-murray/narrandera
National Parks | Far West | Research Monitoring | Argent Street, Broken Hill NSW 2880 | -31.9607 | 141.4633 | 312 | 2017 | Active | NA | Australian Central Standard Time (ACST) | Australian Central Standard Time (ACST) |  |  |  |  | ü | [16 empty] | Not available
Newcastle | Lower Hunter | Standard - NEPM compliance | Fearnley Dawes Athletics Park, Newcastle West (NSW 2300) | -32.9312 | 151.7596 | 5 | 1992 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü | ü | ü | ü | ü | ü |  | ü | ü | ü |  |  |  |  | https://www.airquality.nsw.gov.au/lower-hunter/newcastle
Oakdale | South West Sydney | Standard - NEPM compliance | Ridge Rd (NSW 2570) | -34.0517 | 150.4982 | 457 | 1996 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü |  | ü |  |  | ü |  | ü | ü | ü |  |  | https://www.airquality.nsw.gov.au/south-west-sydney/oakdale
Orange | Central Tablelands | Standard - NEPM compliance | Jaeger Reserve, Hill Street (2800) | -33.2743 | 149.0945 | 871 | 2019 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü | [8 empty] | ü |  |  | ü |  | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/central-tablelands/orange
Parkes | Central West NSW | Indicative | Parkes airport (NSW 2870) | -33.1277 | 148.244 | 323.3 | 2007 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/central-west-nsw/parkes
Parramatta North | Central West Sydney | Standard - NEPM compliance | Cumberland Hospital - Fleet St (NSW 2145) | -33.7995 | 150.9978 | 16 | 2017 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü | ü |  | ü | ü | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/central-west-sydney/parramatta-north
Penrith | North West Sydney | Standard - NEPM compliance | Cnr Laycock Street and Shellbourne Pl, Cranebrook (NSW 2750) | -33.7269 | 150.7038 | 27 | 2020 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü | ü |  | ü |  | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/north-west-sydney/penrith
Pooncarie | Far West | Indicative | Private property (NSW 2648) | -33.6016 | 142.531 | 323.3 | 2004 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/far-west/pooncarie
Port Kembla (2002; 2014-15) | Illawarra | Research Monitoring | Blaxland Ave and Flagstaff Rd (NSW 2505) | -34.4796 | 150.8817 | 59 | 2002 | Decommissioned | 2015 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü | [6 empty] | ü |  |  |  |  | ü |  | ü |  |  |  |  | Not available
Port Kembla Steelworks (2020) | Illawarra | Research Monitoring | Flagstaff Road (NSW 2505) | -34.4789 | 150.8778 | 59 | 2020 | Decommissioned | 2020 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü | ü |  | ü |  | ü |  |  |  |  | Not available
Port Macquarie | Mid North Coast | Bushfire Emergency - incident monitoring | Sherwood Road (NSW 2444) | -31.4478 | 152.8765 | 72.6 | 2019 | Transitioned to long-term site | 2020 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | Originally at -31.4485, 152.876707. Moved to current location on 4/10/2019 | ü | ü |  |  |  |  | ü |  | ü | ü | ü | ü |  | ü |  | ü |  |  |  |  | Not available
Port Macquarie | Mid North Coast | Standard - NEPM compliance | Blackbutt Road, Port Macquarie (NSW 2444) | -31.454 | 152.8882 | 12 | 2020 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | Moved from -31.44747, 152.87707 to current location on 1/7/2021. | ü | ü |  |  |  |  | ü |  | ü | ü | ü | ü |  | ü |  | ü |  |  |  |  | https://www.airquality.nsw.gov.au/mid-north-coast/port-macquarie
Prospect | Central West Sydney | Standard - NEPM compliance | William Lawson Park (NSW 2148) | -33.7942 | 150.9142 | 64 | 2007 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü | ü |  | ü | ü | ü | ü |  |  |  | https://www.airquality.nsw.gov.au/central-west-sydney/prospect
Rand | Riverina-Murray | Indicative | Private property (NSW 2642) | -35.6296 | 146.475 | 149.3 | 2010 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/riverina-murray/rand
Randwick | East Sydney | Standard - NEPM compliance | Randwick Barracks (NSW 2031) | -33.9318 | 151.2428 | 28 | 1994 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü |  |  | ü | ü | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/east-sydney/randwick
Richmond | North West Sydney | Standard - NEPM compliance | University of Western Sydney (NSW 2753) | -33.6164 | 150.7473 | 21 | 1992 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü | ü | ü | ü | ü |  |  | ü | ü | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/north-west-sydney/richmond
Rouse Hill | Central West Sydney | Standard - NEPM compliance | Cudgegong Rd (NSW 2155) | -33.6827 | 150.9037 | 72.6 | 2019 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü | ü |  | ü | ü | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/central-west-sydney/rouse-hill
Rozelle | East Sydney | Standard - NEPM compliance | Rozelle Hospital (NSW 2039) | -33.8643 | 151.1639 | 22 | 1970 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü | ü |  | ü |  | ü | ü | ü |  |  | https://www.airquality.nsw.gov.au/east-sydney/rozelle
Sewerage Pumping Station | Far West | Research Monitoring | Gaffney Street, Broken Hill 2880 | -31.9795 | 141.4405 | 294 | 2017 | Active | NA | Australian Central Standard Time (ACST) | Australian Central Standard Time (ACST) | [5 empty] | ü | [15 empty] | Not available
Singleton | Upper Hunter | Standard - NEPM compliance | Civic Avenue (NSW 2330) | -32.5573 | 151.1771 | 42 | 2010 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü | [6 empty] | ü | ü |  |  |  | ü | ü | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/upper-hunter/singleton
Singleton NW | Upper Hunter | Standard - industry monitoring | Near Rixs Creek Coal Mine (NSW 2330) | -32.5298 | 151.1501 | 123 | 2011 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | [12 empty] | ü | ü | ü |  |  |  |  | https://www.airquality.nsw.gov.au/upper-hunter/singleton-nw
Singleton South | Upper Hunter | Standard - industry monitoring | Haggarty's Lane, Whittingham (NSW 2330) | -32.5871 | 151.2089 | 39 | 2011 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | [12 empty] | ü | ü | ü |  |  |  |  | https://www.airquality.nsw.gov.au/upper-hunter/singleton-south
Silver City Highway | Far West | Research Monitoring | Silver City Highway, Broken Hill NSW 2880 | -31.9897 | 141.4512 | 309 | 2017 | Active | NA | Australian Central Standard Time (ACST) | Australian Central Standard Time (ACST) | [5 empty] | ü | [15 empty] | Not available
South Morish Street | Far West | Research Monitoring | Morish Street Broken Hill, NSW 2880 | -31.98 | 141.4664 | 303 | 2021 | Active | NA | Australian Central Standard Time (ACST) | Australian Central Standard Time (ACST) |  |  |  |  | ü | [16 empty] | Not available
St Marys | North West Sydney | Standard - NEPM compliance | Mamre Rd (NSW 2760) | -33.7951 | 150.7668 | 29 | 1992 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü |  | ü |  |  | ü |  | ü |  |  |  |  | https://www.airquality.nsw.gov.au/north-west-sydney/st-marys
Stockton | Lower Hunter | Standard - industry monitoring | Fullerton St Park (NSW 2295) | -32.902 | 151.7843 | 5 | 2014 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü | [6 empty] | ü | ü |  |  | ü | ü |  | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/lower-hunter/stockton
Sydney | East Sydney | Standard - NEPM compliance | George & Market Sts (NSW 2000) | -33.8709 | 151.2071 | 28 | 1974 | Decommissioned | 2004 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü | [6 empty] | ü | ü | ü | ü | [8 empty] | Not available
Tamworth | North West Slopes | Standard - NEPM compliance | Hyman Park (NSW 2340) | -31.1099 | 150.9145 | 405 | 2000 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü | [8 empty] | ü |  |  | ü | ü | ü |  |  |  |  | https://www.airquality.nsw.gov.au/north-west-slopes/tamworth
Taree | Mid North Coast | Bushfire Emergency - incident monitoring | Taree Airport (NSW 2430) | -31.8894 | 152.5086 | 24 | 2019 | Decommissioned | 2020 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [14 empty] | Not available
Temora | Riverina-Murray | Indicative | Temora airport (NSW 2666) | -34.4278 | 147.512 | 279.2 | 2007 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/riverina-murray/temora
Tibooburra | Far West | Indicative | BoM airport (NSW 2880) | -29.4448 | 142.057 | 177.8 | 2004 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/far-west/tibooburra
Ulladulla | South Coast | Bushfire Emergency - incident monitoring | Light House Oval, Deering St (NSW 2539) | -35.3635 | 150.4828 | 15 | 2019 | Decommissioned | 2020 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [14 empty] | Not available
Ultimo-UTS | East Sydney | Standard - NEPM compliance | 15 Broadway, Ultimo NSW 2007 | -33.8837 | 151.2012 |  | 2025 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü |  | ü | ü |  | ü | ü | ü |  |  |  |  | https://www.airquality.nsw.gov.au/east-sydney/ultimo-uts
Vineyard | Central West Sydney | Standard - NEPM compliance | Castle Hill STP (NSW 2765) | -33.6562 | 150.8477 | 35 | 1994 | Decommissioned | 2015 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | [5 empty] | ü |  | ü | ü | ü |  |  | ü |  | ü | ü |  |  |  | Not available
Wagga Wagga | Riverina-Murray | Standard - NEPM compliance | Morgan & Murray Sts (NSW 2650) | -35.1156 | 147.3608 | 181 | 2000 | Decommissioned | 2011 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü | [11 empty] | ü |  | ü |  |  |  |  | Not available
Wagga Wagga North | Riverina-Murray | Standard - NEPM compliance | Wagga Wagga Racecourse (NSW 2650) | -35.1041 | 147.3604 | 178.6 | 2011 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü | [5 empty] | ü | ü |  | ü |  |  | ü |  | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/riverina-murray/wagga-wagga-nth
Wagga Wagga North2 | Riverina-Murray | Indicative | Wagga Wagga racecourse (NSW 2650) | -35.1041 | 147.3604 | 178.6 | 2017 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [14 empty] | https://www.airquality.nsw.gov.au/riverina-murray/wagga-wagga-north
Walgett | Far West | Indicative | BoM airport (VIC 3507) | -30.0359 | 148.123 | 131.8 | 2008 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/far-west/walgett
Wallsend | Lower Hunter | Standard - NEPM compliance | Swimming Pool (NSW 2287) | -32.8944 | 151.6702 | 8 | 1992 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü |  |  | ü |  | ü | ü |  |  |  | https://www.airquality.nsw.gov.au/lower-hunter/wallsend
Walpeup | Far West | Indicative | Meridian Road (VIC 3507) | -35.12 | 142 | 104.7 | 2011 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/far-west/walpeup
Warkworth | Upper Hunter | Standard - industry monitoring | Warkworth, nr St Phillips Church (NSW 2330) | -32.574 | 151.0272 | 60 | 2011 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | [12 empty] | ü | ü | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/upper-hunter/warkworth
Warrawong | Illawarra | Standard - NEPM compliance | Carlotta Cres (NSW 2502) | -34.4897 | 150.8922 | 9 | 1993 | Decommissioned | 2006 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü | [9 empty] | Not available
Water Tank | Far West | Research Monitoring | Lawton Street, Broken Hill 2880 | -31.9706 | 141.4705 | 324 | 2017 | Active | NA | Australian Central Standard Time (ACST) | Australian Central Standard Time (ACST) | [5 empty] | ü | [15 empty] | Not available
Wentworth Falls | Central Tablelands | Research Monitoring | Bodington Drive (NSW 2782) | -33.7328 | 150.3889 | 187 | 1998 | Decommissioned | 1999 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | [5 empty] | ü |  | ü |  | ü |  |  | ü |  | ü |  |  |  |  | Not available
Werrimull | Far West | Indicative | Corner of Carwarp Rd and Fraser Rd (NSW 3496) | -34.4666 | 141.5668 | 77 | 2018 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/far-west/werrimull
West Wyalong | Riverina-Murray | Indicative | West Wylong airfield (NSW 2671) | -33.9384 | 147.196 | 253.9 | 2007 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/riverina-murray/west-wyalong
Wetlands | Far West | Research Monitoring | Boron Street, Broken Hill NSW 2880 | -31.9485 | 141.4737 | 295 | 2017 | Active | NA | Australian Central Standard Time (ACST) | Australian Central Standard Time (ACST) |  |  |  |  | ü | [16 empty] | Not available
White Cliffs | Far West | Indicative | White Cliffs aerodrome (NSW 2836) | -30.8517 | 143.074 | 159.2 | 2008 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [12 empty] | ü |  | https://www.airquality.nsw.gov.au/far-west/white-cliffs
Wollongong | Illawarra | Standard - NEPM compliance | Gipps St (NSW 2500) | -34.4171 | 150.8873 | 15 | 1993 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü | ü | ü | ü | ü | ü |  | ü |  | ü |  | ü |  |  | https://www.airquality.nsw.gov.au/illawarra/wollongong
Woolooware | East Sydney | Standard - NEPM compliance | Woolooware Rd (NSW 2230) | -34.0427 | 151.1421 | 12 | 1982 | Decommissioned | 2004 | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü |  |  | ü |  | ü | ü |  |  |  | Not available
Wybong | Upper Hunter | Standard - industry monitoring | St Marks Church, Ridgelands Rd (NSW 2330) | -32.1951 | 150.6734 | 190 | 2011 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | [12 empty] | ü | ü | ü |  |  |  |  | https://www.airquality.nsw.gov.au/upper-hunter/wybong
Wycheproof | Riverina-Murray | Indicative | AG research station (VIC 3527) | -36.0971 | 143.355 | 111 | 2014 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) | [6 empty] | ü | [14 empty] | https://www.airquality.nsw.gov.au/riverina-murray/wycheproof
Wyong | Central Coast | Standard - NEPM compliance | Wyong Racecourse (NSW 2259) | -33.2789 | 151.4324 | 3 | 2012 | Active | NA | Australian Eastern Standard Time (AEST) | Australian Eastern Standard Time (AEST) |  | ü | ü |  |  |  |  | ü |  | ü | ü | ü | ü |  | ü | ü | ü |  |  |  |  | https://www.airquality.nsw.gov.au/central-coast/wyong

## Siting compliance & NEPM status
NSW air quality monitoring (AQM) site | Site funding arrangement | Is site compliant with AS/NZS 3580.1.1 siting requirements? | Reason for siting variation | Compliant with AS NZS 3580.14 2014 | Reported for NEPM compliance purposes? | NEPM region name | Relevant notes on NEPM status
Upper Hunter region stations
Aberdeen | Industry funded | Yes |  | No | Yes | Upper Hunter | UH large population centre
Bulga | Industry funded | No | Non-NEPM site, smaller community; influenced by local mining activity | No | No | -
Camberwell | Industry funded | No | Non-NEPM site, smaller community; influenced by local mining activity | No | No | -
Jerrys Plains | Industry funded | No | Non-NEPM site, smaller community; influenced by local mining activity | No | No | -
Maison Dieu | Industry funded | No | Non-NEPM site, smaller community; influenced by local mining activity | No | No | -
Merriwa | Industry funded | Yes |  | No | Yes | Upper Hunter | Previously only UH background station for particles, upgraded July 2020 to a full station monitoring all criteria pollutants
Mount Thorley | Industry funded | No | Non-NEPM site, diagnostic; influenced by local mining activity | No | No | -
Muswellbrook | Industry funded | No | Not greater than 50 metres from road | No | Yes | Upper Hunter | UH large population centre
Muswellbrook NW | Industry funded | No | Non-NEPM site, diagnostic; influenced by local mining activity | No | No | -
Singleton | Industry funded | Yes |  | No | Yes | Upper Hunter | UH large population centre
Singleton NW | Industry funded | No | Non-NEPM site, diagnostic; influenced by local mining activity | No | No | -
Singleton South | Industry funded | No | Non-NEPM site, background montoring | No | No | -
Warkworth | Industry funded | No | Non-NEPM site, smaller community; influenced by local mining activity | No | No | -
Wybong | Industry funded | No | Non-NEPM site, smaller community; influenced by local mining activity | No | No | -
Lower Hunter region stations
Beresfield | Government funded | Yes |  | No | Yes | Lower Hunter | LH large population centre
Carrington | Industry funded | No | Non-NEPM site, influenced by local industry activity | No | No | -
Mayfield | Industry funded | No | Non-NEPM site, influenced by local industry activity | No | No | -
Newcastle | Government funded | Yes |  | No | Yes | Lower Hunter | LH large population centre
Stockton | Industry funded | No | Non-NEPM site, influenced by local industry activity and with significant impact from sea salt | No | No | -
Wallsend | Government funded | Yes |  | No | Yes | Lower Hunter | LH large population centre
Central Coast region and Lake Macquarie region
Morisset | Government funded | No | Not greater than 50 metres from road | No | Yes | Lake Macquarie
Wyong | Government funded | Yes |  | No | Yes | Central Coast
Illawarra region stations
Albion Park South | Government funded | Yes |  | No | Yes | Illawarra | Continuation of Albion Park station
Kembla Grange | Government funded | Yes |  | No | Yes | Illawarra
Wollongong | Government funded | Yes |  | No | Yes | Illawarra
Roadside Monitoring station
Bradfield Highway | Government funded | No | Non-NEPM site, not greater than 50 metres from road | No | Yes | - | Roadside monitoring
Regional NSW stations
Albury | Government funded | Yes |  | No | Yes | South West Slopes
Armidale | Government funded | Yes |  | NA - no meteorology | Yes | Northern Tablelands
Bathurst | Government funded | Yes |  | No | Yes | Central Tablelands
Coffs Harbour | Government funded | No | Non-NEPM site, formerly short-term emergency monitoring site. Looking for suitable location | No | Yes | Mid North Coast | Included in NEPM reporting from 2022
Goulburn | Government funded | Yes |  | No | Yes | Southern Tablelands
Gunnedah | Industry funded | No | Not greater than 50 metres from road. | No | Yes | North West Slopes
Millthorpe |  | TBC |  | No | No | Central Tablelands | Incident monitoring station
Narrabri | Industry funded | Yes |  | No | Yes | North West Slopes
Orange | Government funded | Yes |  | No | Yes | Central Tablelands
Port Macquarie | Government funded | No | Non-NEPM site, formerly short-term emergency monitoring site. Looking for suitable location | No | Yes | Mid North Coast | Included in NEPM reporting from 2022
Tamworth | Government funded | Yes |  | No | Yes | North West Slopes
Wagga Wagga North | Government funded | Yes |  | No | Yes | South West Slopes | Continuation of Wagga Wagga station
Sydney region stations
Alexandria | Government funded | No |  | No | Yes | Sydney
Bargo | Government funded | Yes |  | No | Yes | Sydney
Bringelly | Government funded | Yes |  | No | Yes | Sydney
Camden | Government funded | Yes |  | No | Yes | Sydney
Cammeray |  | No |  | No | No | - | Research station only
Campbelltown West | Government funded | Yes |  | No | Yes | Sydney | Continuation of Macarthur Site
Chullora | Government funded | No | Clear sky angle is not ≥120°. Distance to nearby tree is not ≥ 10 metres | No | Yes | Sydney | Continuation of (former) Lidcombe Site. Site decommissioned.
Cook and Phillip | Government funded | No | Not greater than 50 metres from road | No | Yes | Sydney
Earlwood | Government funded | No | Not greater than 50 metres from road. | No | Yes | Sydney
Lidcombe | Government funded | No | Distance to nearby trees is not ≥ 10 metres | No | Yes | Sydney | Continuation of Chullora Site
Liverpool | Government funded | Yes |  | No | Yes | Sydney
Macquarie Park | Government funded | Yes |  | No | Yes | Sydney | Continuation of Lindfield Site
Oakdale | Government funded | Yes |  | No | Yes | Sydney
Parramatta North | Government funded | Yes |  | No | Yes | Sydney | Formerly known as Westmead
Penrith | Government funded | No | Not greater than 50 metres from road | No | Yes | Sydney
Prospect | Government funded | Yes |  | No | Yes | Sydney | Continuation of Blacktown Site
Randwick | Government funded | Yes |  | No | Yes | Sydney
Richmond | Government funded | Yes |  | No | Yes | Sydney
Rouse Hill | Government funded | Yes |  | No | Yes | Sydney | Continuation of Vineyard Site
Rozelle | Government funded | No | Clear sky angle is not ≥120°. Distance to nearby tree is not ≥ 10 metres | No | Yes | Sydney
St Marys | Government funded | Yes |  | No | Yes | Sydney
Ultimo-UTS |  | TBC |  | No | TBC | Sydney
Rural NSW network stations
Bourke | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | NA - no meteorology | No | -
Broken Hill | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Buronga | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | NA - no meteorology | No | -
Cobar | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Condobolin | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Cooma | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | NA - no meteorology | No | -
Coombah | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Cowra | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Deniliquin | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Dubbo | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | NA - no meteorology | No | -
Euston | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Grafton | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | NA - no meteorology | No | -
Griffith | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | NA - no meteorology | No | -
Gunnedah | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Hay | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Hillston | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | NA - no meteorology | No | -
Ivanhoe | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | NA - no meteorology | No | -
Junee | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Kyalite | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Lake Victoria | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Lameroo | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Lismore | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | NA - no meteorology | No | -
Loddon Plains | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | NA - no meteorology | No | -
Merimbula | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | NA - no meteorology | No | -
Moolawatana | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Moree | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Narrandera | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Parkes | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Pooncarie | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Rand | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Temora | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Tibooburra | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Wagga Wagga North | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Walgett | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Walpeup | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Werrimull | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
West Wyalong | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
White Cliffs | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | No | No | -
Wycheproof | Government funded | No | Non-NEPM site, Federal Reference or Equivalence Method not used (former Dustwatch station) | NA - no meteorology | No | -

## AS NZS 3580.14 2014
Aspect | Description
Site Selection | Site represents local ambient air quality conditions
Site Selection | Avoids urban heat islands and reflective surfaces
Site Selection | If a rooftop installation, avoids exhaust vents and HVAC systems
Site Selection | Ground surface is level and free from heat sources or reflective surfaces.
Site Selection | Free from obstructions (trees, buildings) within a radius of 10x the height of the obstruction.
Instrumentation - Wind | Anemometer and wind vane installed at 10 m above ground level
Instrumentation - Wind | Oriented using GPS or compass for true north alignment
Instrumentation - Temperature | Thermometer or thermistor housed in ventilated radiation shield
Instrumentation - Temperature | Shielded from direct sunlight and urban heat sources
Instrumentation - Temperature | Installed at 2 m above ground level.
Instrumentation - Humidity | Hygrometer installed with temperature sensor and calibrated/maintained regularly
Instrumentation - Atmospheric Pressure | Barometer installed in temperature-stable enclosure and corrected to sea level
Instrumentation - Precipitation | Tipping bucket rain gauge installed on level platform away from splash zones, wind interference, and obstructions.
Instrumentation - Solar Radiation | Pyranometer installed with unobstructed sky view and cleaned regularly